|  | THE KADAPA DISTRICT COOPERATIVE CENTRAL BANK LTD. R.S.ROAD, KADAPA-516001. e-mail: ceo_kdph@apcob.org url: http://www.kadapadccb.bank.in |
| --- | --- |

# BID DOCUMENT

# Name of the work:	Construction of The Kadapa District Cooperative Central Bank Ltd., Duvvur Branch Building at Duvvur (V&M) in YSR Kadapa District - Estimate Cost of Rs. 70.00 Lakhs

Office Inviting Tender		The Chief Executive Officer, The Kadapa District Cooperative Central Bank, Kadapa

|  | THE KADAPA DISTRICT COOPERATIVE CENTRAL BANK LTD. R.S.ROAD, KADAPA-516001. e-mail: ceo_kdph@apcob.org url: http://www.kadapadccb.bank.in |
| --- | --- |

# BID DOCUMENT

# VOLUME - I

# Name of the work:	Construction of The Kadapa District Cooperative Central Bank Ltd., Duvvur Branch Building at Duvvur (V&M) in YSR Kadapa District - Estimate Cost of Rs. 70.00 Lakhs

# Name of the Firm:

|  | THE KADAPA DISTRICT COOPERATIVE CENTRAL BANK LTD. R.S.ROAD, KADAPA-516001. e-mail: ceo_kdph@apcob.org url: http://www.kadapadccb.bank.in |
| --- | --- |

*******

# Name of the work:	Construction of The Kadapa District Cooperative Central Bank Ltd., Duvvur Branch Building at Duvvur (V&M) in YSR Kadapa District - Estimate Cost of Rs. 70.00 Lakhs

# Officer inviting bids:	Chief Executive Officer, Kadapa District Co-Operative Central Bank Ltd., Kadapa

- Bids are invited on the tender for the above mentioned work from the Contractors/Contracting firms registered with Government of Andhra Pradesh. The details of bid conditions and terms can be downloaded from the Bank website i.e. http://www.kadapadccb.bank.in

- Approximate Estimate Contract value of work:  Rs. 57,98,146/-

- Contractors shall obtain the prescribed tender documents from http://www.kadapadccb.bank.in and submit their bids in the manner prescribed in the tender conditions. The Department shall not accept incomplete bids or bids submitted otherwise than in the prescribed form.

- Non-refundable Processing fee of Rs. 23,600/- (including GST @ 18%) to be paid by way of online /Demand Draft - Kadapa District Cooperative Central Bank Ltd, Kadapa – A/c No: 803000431320, IFSC Code : APBL0011001

- The Bid Security/EMD shall be 1% of the Estimated Contract Value (ECV), amounting to Rs.58,000/-, to be paid in the form of Online Transfer/Bank Guarantee/Demand Draft in favour of Kadapa District Cooperative Central Bank Ltd., Kadapa, A/c No. 803000431320, IFSC Code: APBL0011001. The Bank Guarantee shall be in the standard format prescribed in the bid document and issued by any Nationalised/Scheduled Commercial Bank, valid for a period of six (6) months from the date of Notice Inviting Tender (NIT).

The balance EMD at 1.5% of the Tender Contract Value or Estimated Contract Value, whichever is higher, shall be paid at the time of concluding the agreement. Proof of payment towards EMD shall be enclosed along with the tender documents. The successful bidder shall submit the original Demand Draft/Bank Guarantee/original transaction slip, as applicable, to the Deputy General Manager (Premises), Kadapa District Co-Operative Central Bank Ltd., Kadapa, either through Registered Post/Courier or in person, so as to reach before the date specified in the Intimation Notice. Failure to furnish the original proof within the stipulated date and time shall render the bidder liable for suspension from participating in the Bank’s tenders for a period of three (3) years, including criminal prosecution as per G.O Ms No.174, Irrigation & CAD (PW-Reforms) Department Dated: 1/09/2008.

- Period of completion of work		:  6 Months.

- The bidders can view/ down load the bid documents from the Bank website: WWW.kadapadccb.bank.in

- Form of contract – Lump sum contract

- Class of Contractors eligible is as given below:

As per G.O Ms No. 94, I&CAD (PW. COD) Dept. Dated: 1/07/2003: Class III (Civil) & above

As per GO MS No. 63, Water Resources (Reforms) Department Dt. 12.05.2025 is Applicable.

- Downloading of bid documents: From  27.05.2026, 3.00 PM to 10.06.2026, 4.00 PM

- Date and time for receipt of bids: From 27.05.2026, 3.00 PM to 10.06.2026, 4.30 PM

- Time and date of opening of bids:

- PQ Stage			:   11.06.2026, 5.00 PM

- Price bid			:   17.06.2026, 11.00 AM

Note:	The dates stipulated above are firm and under no circumstances they will be relaxed unless otherwise extended by an official notification or happens to be public holidays.

- Procedure for Submission of Bids:

(a) The bidders may contact the Deputy General Manager (Premises), The Kadapa District Co-Operative Central Bank Ltd., Kadapa, for any clarification or information relating to the tender.

(b) The eligible bidders shall submit their bids in conventional offline mode in accordance with the terms and conditions prescribed in the tender document.

(c) The tender shall be submitted under the Two Cover System as detailed below:

- Cover–I : Technical Bid
(Containing EMD particulars, credentials, certificates, supporting documents, and other required details)

- Cover–II : Financial Bid
(Containing BOQ/Price Schedule only)

Both the above covers shall be placed in a single sealed outer cover superscribed as:

“Tender for Construction of Kadapa DCC Bank, Duvvuru Branch Building at Duvvur Village.”

  - While submitting tenders through the offline conventional method, the bidders may download the detailed bid conditions and terms from Kadapa DCC Bank website i.e. http://www.kadapadccb.bank.in. The bidders shall scan and upload the required attested documents, as per the bid requirements, to their profile. The uploaded documents pertaining to the technical bid shall also be enclosed along with the tender documents submitted offline.

  - As per G.O Ms No.174, I&CAD (PW-REFORMS) Department Dt.01/09/2008, the following modifications are made:

- All the bidders shall invariably submit their Technical Bid and Financial Bid along with the scanned copies / details in offline conventional method only to the Kadapa DCC Bank to consider their bid.

- The Bank shall carry out the Technical Bid Evaluation based solely on the certificates/documents submitted along with the offline tender documents, including proof of payment towards EMD such as Bank Challan, Demand Draft, or details of NEFT/RTGS payment, and shall open the Price Bids of only those bidders found responsive to the technical requirements.

- The Department shall notify the successful bidder to submit the original hard copies of all documents furnished along with the tender, including proof of payment towards Earnest Money Deposit (EMD), prior to entering into the agreement.

- The successful bidder shall invariably furnish the details of net banking payment towards Earnest Money Deposit, certificates/ documents of the uploaded scanned copies to the tender inviting Authority before entering into agreement either personally or through courier or post and the receipt of the same within the stipulated date shall be the responsibility of the successful bidder.

- The Department will not take any responsibility for any delay in receipt/non receipt of Details of net banking payment towards earnest money deposit, certificates/Documents, from the successful bidder before the stipulated time. On receipt of documents, the Department shall ensure the genuinely of the / Details of net banking payment towards Earnest Money Deposit and all other certificates/documents uploaded by the bidder in e-procurement system in support of the qualification criteria before concluding the agreement.

- If the successful bidder fails to submit the original hard copies of the certificates/documents furnished along with the tender, including proof of payment towards Earnest Money Deposit (EMD), within the stipulated time, or if any discrepancy is noticed between the documents submitted and the original hard copies produced by the bidder, such bidder shall be suspended from participating in the Department’s tenders for a period of three (3) years. In addition, the Department reserves the right to initiate appropriate legal action, including criminal prosecution, against such defaulting bidder as a deterrent measure to prevent delays in the tender process and execution of the development works undertaken by the Government.

- The successful bidder shall conclude the Agreement within 7 days from the date of receipt of LOA.

f. Steps for registration and submission of bids are described in detail in the “Bidders Training Booklet” available with the department as well as at the above web site.

        - After submission of the Technical Bid and Price Bid in offline mode, the original bank slips/receipts in respect of the processing fee shall be submitted to the Deputy General Manager (Premises), Kadapa District Co-Operative Central Bank Ltd., Kadapa, within 72 hours (3 days) from the closing date of bid submission.

h. The Corporation will not hold any risk and responsibility for the loss in transit during uploading

of the scanned documents, for the invisibility of the scanned documents online and any other

problem(s) encountered by the bidder while submitting his bids in online.

i. The bidder shall duly sign and authenticate the bid and submit the same in offline mode. Bids not

duly signed by the authorized signatory of the bidder and not accompanied by the required

supporting documents shall be liable for rejection.

- Qualification requirements: To qualify for consideration of award of the contract each bidder should fulfil the following criteria:

- Assessed available bid capacity as per formula (2AN-B) should be less than the of estimated contract value as specified in the bid document.

- The details and certificates are to be furnished as per the proforma available in the bid document.

- (a)	The bidder should have satisfactorily completed Similar nature of works (building) of value not less than Rs.57,98,146/- as a prime contractor in the same name and style in any one year during the financial years 2021-2022 to 2025-26 updated to 2026-27 price level. GPA holder’s experience shall not be taken into account. The bidder should enclose certificate issued by the Engineer-in-Charge of the State/Central Government Departments/State Government undertakings and Central Government undertakings not below the rank of Concerned or equivalent and countersigned by the Officer of the rank of The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa or equivalent.

4.	The bidder should have executed the minimum quantities of items of work as given below in any one year during the financial years for Similar nature of works 2021-2022 to 2025-26. The bidder should enclose certificate issued by the Engineer-in-Charge of the State/Central Government Departments/State Government undertakings and Central Government undertakings not below the rank of Concerned or equivalent and countersigned by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa or equivalent.

| Sl.No | Description of item | Quantity |
| --- | --- | --- |
| 1 | Earth Work Item | 170.00 Cum |
| 2 | R.R Masonry or C.R.S Masonry or Brick Masonry or combined quantity | 137.00 Cum |
| 3 | PCC or VCC or RCC or VRCC or combined quantity | 224.00 Cum |
| 4 | Plastering of any thickness (Combined quantity) | 1227.00 Sqm |
| 5 | Flooring with Combined quantity | 91.00 Sqm |

The bidder should submit the particulars invariably in the prescribed format specified in the bid document along with necessary certificates, failing which his bid shall be treated as incomplete and summarily rejected.

5.	The bidder should further demonstrate:

(i) Availability (either owned or leased) of the following key and critical equipment.

(Bidder to submit a declaration on non-judicial stamp paper worth Rs.100/-as prescribed in Stat.V along with sufficient proof of document in support of owning such as invoice/Certificate of regn.by competent authority in support of the critical equipt. Also declaration on stamp paper of worth Rs.100/-towards own/lease of critical machinery shall be furnished along with the cosent taken from lessor)

| Sl.No | Equipment type and characteristics | Minimum Nos. required |
| --- | --- | --- |
| 1 | Steel centring | 1000 Sqm |
| 2 | Pin vibrators | 2 Nos |
| 3 | Pan vibrators | 2 Nos |
| 4 | Weigh batchers | 1 Nos |
| 5 | Concrete mixers | 1 Nos |

The bidder has to submit a declaration on non-judicial stamp paper worth of Rs 100/- as prescribed in Statement - V along with sufficient proof of document in support of owning such as invoice/Certificate of registration by competent authority in support of the critical equipment.

Note:	The major equipment to attain the completion of works in accordance with the prescribed construction schedule is to be shown in the above table.

Quality Control Laboratory:

    - Deleted

- Availability of the following key technical personnel with adequate experience:

(i)	Graduate Engineers (Civil) – 		2 Nos

6.	Liquid Assets/Credit facilities/Solvency Certificate in the prescribed proforma only (See Annexure-III of bid document) from any Nationalised/Scheduled Bank of value not less than Rs.28,99,073/- The Solvency certificate should not be earlier than 13.05.2025.

7.	Non-refundable Processing fee of Rs. 23,600/- (including GST @ 18%) to be paid by way of online only

8.	Deleted

9.	E.M.D of Rs.58,000/- (i.e., 1% of ECV) to be paid along with the bids in the form of Online / Challan Generation / BG as per GO MS No. 8, Dt. 08.05.2016 in favour of Kadapa District Cooperative Central Bank Ltd, Kadapa – A/c No: 803000431320, IFSC Code : APBL0011001

10.	GST registration certificate at the time of concluding agreement)

11.	Copy of PAN Card and copy of latest I.T returns submitted along with proof for the assessment year 2025-26

12.	The bidder should submit details of existing commitments of works as per the proforma available in the bid document.

The bidder should submit the particulars preferably in the formats specified in the bid document.

13.	The bidder is subjected to be black listed and the EMD forfeited if he is found to have misled or furnished false information in the forms/statements/certificates submitted in proof of qualification requirements or record of performance such as abandoning of works, non-completion of works properly in time in earlier contracts, inordinate delays in completion of the works, litigation history and/or financial failures and/or participated in the previous bidding for the same work and had quoted unreasonably high bid prices.

14.	Even while execution of the work, if found that the contractor had produced false/fake certificates of experience /incomplete/part information, he will be black listed and the contract will be terminated.

15.	The bidder should submit signed undertaking of bid online.

16.	Transaction fee: Deleted

17.	No relaxation will be given to any of the qualification criterion.

NOTE:

- Sub Contractor’s experience, in his name will be taken in to account in determining the bidder’s compliance to the qualification criterion, if it is as per G.O Ms No. 94, I&CAD (PW-COD) Department Dated: 1/07/2003.

- The certificates in support of similar works / quantities must be in State /Central Government Departments or State/Central Government undertakings only issued by the concerned and countersigned by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa or equivalent authority.

- The GPA holder’s experience shall not be taken in to account in determining the bidder’s compliance with qualifying criterion.

# INSTRUCTIONS TO BIDDERS

A – GENERAL

# NAME OF THE WORK:	Construction of The Kadapa District Cooperative Central Bank Ltd., Duvvur Branch Building at Duvvur (V&M) in YSR Kadapa District - Estimate Cost of Rs. 70.00 Lakhs

- Scope of work:

- Give brief description and location of work: Construction of Civil Work

- List out principal components of the work: Earth Work, PCC, VRCC, Brick Masonry work, Plastering, Flooring, Joinery etc, Water Supply & Sanitary arrangements, Internal & External electrification, Roads etc.

- E.C.V put to tender: 57,98,146/-

- Period of completion: 6 Months

- SSR adopted: Building SSR 2025-26 adopting rates of Cement & Steel for the month of Jan, 2026

- Rates adopted for:

(i) Cement		:	Rs. 4220 /MT

(ii) HYSD Bars Fe 500	:	Rs. 58000 /MT

(iii) Mild Steel		:	Rs. 62000 /MT

- Details of provisions included in ECV put to tender:

(i) Seigniorage charges: As per Clause 100

(ii) GST: (AS APPLICABLE FROM TIME TO TIME)

(iii)Overhead charges & Contractors profit: 13.615%

(iv)Over Head Charges & Contractors profit for Repairs works – Not applicable

(v) LA & L.I allowance: ---

  - Municipal area allowance:  where ever applicable as per lead statement of

sanctioned estimate.

- Reimbursable provisions:

(i) Technical personnel		: 	(Already included in the data under overheads)

(ii) Insurance premium	: 	NIL

(iii) Avagahana Sadassulu	: 	NIL

  - The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa

  - The intending bidders would be required to enrol themselves on the Conventional Mode (offline) / e-procurement market place of the Government.

  - The bids shall be submitted in the prescribed form invited by the Bank, which can be downloaded free of cost from the website http://www.kadapadccb.bank.in

  - The dates stipulated in the tender notice are firm and under any circumstances they will not be relaxed unless officially extended.

  - The bidder should upload scanned copies of registration in required class and other required documents along with his online bid. The successful bidder should produce the originals of all uploaded documents for verification if asked for by the Competent Authority.

  - The bid opening authority will not consider any bid received after expiry of date and time fixed for receipt of bids.

  - Bidders shall furnish declaration that they have not been blacklisted in any department in Andhra Pradesh. Any wrong declaration in this regard which comes to notice at a later date will disqualify them and the tenders so received will be rejected.

1.7(a)	The data filled by the bidder in the online form shall be the sole criteria for the evaluation of responsiveness and assessing the bid capacity and any other supplemental data shall not be accepted by the tender accepting authorities for evaluation.

1.7(b)	The bidders are solely responsible for the correctness of the particulars furnished in online bid form.

1.7(c)	While submitting the bids in offline mode, the bidder shall invariably enclose legible copies of all certificates and documents in support of the particulars furnished in the bid application. The bidder shall ensure that all relevant qualification documents, statements, certificates, and supporting records pertaining to the bid are properly signed by the authorized signatory and submitted along with the tender documents. The bidder shall be solely responsible for the correctness and authenticity of the documents and information furnished in the bid.

1.7(d)	Apart from all the required certificates/documents, the intending bidder should scan and upload the demand draft towards bid processing fee and demand draft /details of net banking payment towards earnest money deposit. A reasonable time with a minimum gap of 3 days from the tender closing date will be fixed for submitting original demand draft towards bid processing fee. All the participated bidders should invariably submit the original demand draft towards bid processing fee to the concerned The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa before specified date and time for opening of price bid. Failure to furnish original demand draft before the specified date and time, will entail solely rejection of the bid. The Department will notify the successful (L1) bidder for submission of original hard copies of all the uploaded documents, Net banking payment details towards earnest money deposit prior to entering into agreement.

1.7(e)	The bank will not hold any risk and responsibility for the loss in transit during uploading of the scanned document, for the invisibility of the scanned document online and any other problem(s) like any internet connectivity, loss of power supply etc., encountered by the bidders while submitting his bids in online.

  - The successful bidder is expected to complete the work within the time period specified in the Tender Notice.

- Firms/Contractors eligible to bid:

  - The bidders who

- Possess the valid registration in the class and category mentioned in the NIT and satisfy all the conditions therein.

- are not blacklisted or debarred or suspended by the competent authority for whatever the reason, prohibiting them not to continue in the contracting business

- Have complied with the eligibility criteria specified in the NIT are the eligible bids.

  - Bidders ineligible to bid:

- A retired officer of the Govt. of AP or Govt. of India and their under takings is not eligible for biding for a period of two years from the date of retirement without the prior permission of the Government.

- The bidder who has employed any retired officer as mentioned above shall be considered as an ineligible bidder.

- The contractor himself or any of his employees is found to be Gazetted Officer who retired from Government service and had not obtained permission from the Government for accepting the contractor’s employment within a period of 2 years from the date of his retirement.

- The Contractor or any of his employees is found at any time after award of contract, to be such a person who had not obtained the permission of the Government as aforesaid before submission of the bid or engagement in the Contractor’s service.

- Contractor shall not be eligible to bid for works in the division, where any of his near relatives are employed in the rank of Sub Engineer or Sub Concerned and above on the Engineering side and Divisional Accounts Officer and above on the administrative side. The Contractor shall intimate the names of persons who are working with him in any capacity or are subsequently employed. He shall also furnish a list of Gazetted/Non-Gazetted, State Government Employees related to him. Failure to furnish such information bidder is liable to be removed from the list of approved contractors and his contract is liable for cancellation.

Note:  Near relatives include

- Sons, step sons, daughters and stepdaughters

- Son-in-law and daughter-in-law

- Brother-in-law, and sister-in-law

- Brothers and Sisters

- Father and Mother

- Wife/Husband

- Father-in-law and Mother-in-law

- Nephews, nieces, uncle and aunts

- Cousins and

- Any person residing with or dependent on the contractor

- Qualification data of the bidders

  - The bidder shall furnish the following particulars in the formats enclosed supported by documentary evidence as specified in the prescribed formats.

- Check slip to accompany the bid (in Annexure-I)

- Attested copies of documents relating to the registration of the firm, registration as Civil contractor, partnership deed, articles of association,

- copy of Permanent Account Number (PAN) card and copy of latest Income tax returns submitted along with proof etc. ( for the assessment year 2025-26)

Note:	The partnership firms which are registered as contractors shall intimate the change in partnership deed if any as per G.O Ms No. 58, I&CAD Dated: 23.4.2002 within one month of such change. Failure to notify the change to the registration authority in time will entail the firms to forfeit their registration and their bid will be rejected. The intimation of change of partners if any and the acceptance by the registration authority may be enclosed.

- Value of all Civil Engineering works executed by the bidder every year during the last five financial years (i.e., from 2021 - 2022  to 2025-2026) in statement-I

- Details of Similar nature of works of completed work (Completed building work only) in the name of the bidder as prime contractor during the last five financial years i.e., from 2021 - 2022  to 2025-2026 showing year wise break up of value of work executed in Statement- II

- Year wise specified quantities executed by the bidder during the last five financial years i.e., from 2021 - 2022  to 2025-2026 in Statement-III

- Details of the existing commitments i.e works on hand and works for which bids are submitted in Statement –IV only. (Self-statements will not be considered)

- availability of key & critical construction/quality control equipment in Statement-V

- availability of key personnel for administration/site management and execution viz., technical personnel (Statement -VI)

- Information regarding any litigation with Government in which the bidder is involved in (Statement-VII)

- Availability of working capital for the work [Liquid assets, credit facility and availability of other financial resources such as solvency etc in prescribed proforma from any nationalised bank/scheduled bank.

- The proposed methodology and program of construction backed with equipment planning and deployment duly supported with broad calculations, justifying their capability of execution and completion of the work as per technical specifications within the stipulated period of completion as per milestones.

- A self-declaration by the bidder in proof of going through all bid conditions.

NOTE:	The bidder shall sign all the statements/documents and certificates uploaded by him owning the responsibility for their correctness/authenticity

  - Bids from Joint Ventures are not acceptable.

  - QUALIFICATION CRITERIA FOR OPENING OF THE PRICE BID

- To qualify for opening the price bid, each bidder in his name, should have, during the last five financial years from 2021 - 2022 to 2025-2026 (specify the financial years; those immediately preceding the financial year in which the bids are invited)

- The bidder should have satisfactorily completed Similar nature of works (building) of value not less than Rs. 57,98,146/- as a prime contractor in the same name and style in any one year during the financial years 2021 - 2022 to 2025-2026 updated to 2025-2026 price level. GPA holder’s experience shall not be taken into account. The bidder should enclose certificate issued by the Engineer-in-Charge of the State/Central Government Departments/State Government undertakings and Central Government undertakings not below the rank of Concerned or equivalent and countersigned by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa or equivalent.

Note:	The cost of completed works of previous years shall be given weight age of 10% per year to bring them to current price level, (the financial year in which bids are invited).

- Executed in any one year the following minimum physical quantities.

| Sl.No | Description of item | Quantity |
| --- | --- | --- |
| 1 | Earth Work Item | 170.00 Cum |
| 2 | R.R Masonry or C.R.S Masonry or Brick Masonry or combined quantity | 137.00 Cum |
| 3 | PCC or VCC or RCC or VRCC or combined quantity | 224.00 Cum |
| 4 | Plastering of any thickness (Combined quantity) | 1227.00 Sqm |
| 5 | Flooring of any combined quantity | 91.00 Sqm |

- Each bidder should further demonstrate:

- Availability (either owned or leased) of the following key and critical equipment for this work: (Bidder to submit a declaration on non-judicial stamp paper worth Rs.100/-as prescribed in Stat.V along with sufficient proof of document in support of owning such as invoice/Certificate of regn.by competent authority in support of the critical equipment. Also declaration on stamp paper of worth Rs.100/-towards own/lease of critical machinery shall be furnished along with the consent taken from lessor)

| Sl.No | Equipment type and characteristics | Minimum Nos. required |
| --- | --- | --- |
| 1 | Steel centring | 1000 Sqm |
| 2 | Pin vibrators | 2 Nos |
| 3 | Pan vibrators | 2 Nos |
| 4 | Weigh batchers | 1 Nos |
| 5 | Concrete mixers | 1 Nos |

The bidder has to submit a declaration on non-judicial stamp paper worth of Rs.100/- as prescribed in Statement - V along with sufficient proof of document in support of owning such as invoice/Certificate of registration by competent authority in support of the critical equipment.

Note:	The major equipment to attain the completion of works in accordance with the prescribed construction schedule is to be shown in the above table.

Quality Control Laboratory:

    - Deleted

- Availability of the key personnel

(i)	Graduate Engineers (Civil) 	– 	2 Nos

- Liquid assets/credit facilities/solvency certificate in the prescribed proforma only (See Annexure-III of bid document) from any nationalised/scheduled bank of value not less than Rs. 28,99,073/- (Solvency certificate shall not be issued earlier than 13.05.2025)

- Non-refundable Processing fee of Rs. 23,600/- (including GST @ 18%) to be paid by way of online/Demand Draft - Kadapa District Cooperative Central Bank Ltd, Kadapa – A/c No: 803000431320, IFSC Code : APBL0011001

- Deleted”.

- E.M.D of Rs. 58,000/- (i.e., 1% of ECV) to be paid along with the bids in the form of online / challan generation as per Go MS No. 8, Dt. 08.05.2016 in favour of Kadapa District Cooperative Central Bank Ltd, Kadapa – A/c No: 803000431320, IFSC Code: APBL0011001 (Bidders are requested to generate Challan Generation / Bank Guarantee at least 3 days before bid submission to avoid delay / inconvenience while tendering the bid)

- GST registration certificate under GST Act

- Copy of PAN card and copy of latest I.T returns submitted along with proof (for the assessment year 2025-26).

- Statement showing the existing commitments of works as per the proforma available in the bid document.

- Copies of registrations in Civil (Mandatory), water supply & sanitary and electrical,

- Information on litigation history in which bidder is involved if any.

- Bidder to submit a declaration on non-judicial stamp paper worth Rs.100/-as prescribed in Stat.V along with sufficient proof of document in support of owning such as invoice/Certificate of regn.by competent authority in support of the critical equipt. Also declaration on stamp paper of worth Rs.100/-towards own/lease of critical machinery shall be furnished along with the cosent taken from lessor

- Signed undertaking of tender

Bid capacity

The bidder who meets the above qualification criteria and whose available bid capacity is more than estimated contract value will be qualified for opening of price bid. The available bid capacity will be calculated as under:

Available bid capacity	: 	2AN-B >  of ECV

Where,

A =	Maximum value of Civil Engineering works executed in the name of bidder in any one financial year during the last five financial years (updated to current price level) taking into account the works completed as well as works in progress.

N =	Number of years prescribed for completion of the work for which bids are invited [months / 9].

B =	Updated value (at current price level), of all existing commitments i.e., on going works, works likely to be awarded to be executed during the next 6 Months. (Period of completion of work for which bids are invited)

Annual turnover cost of completed works and balance works on hand etc., shall be updated by giving weightage of 10% per year to bring them to current price level.

Note.1:	Sub contractor’s experience, in his name will be taken in to account in determining the bidder’s compliance to the qualification criteria if it is as per G.O Ms No. 94, I & CAD (PW-COD) Department Dated: 01/07/2003.

Note 2:	(i) The certificates in support of 3.3 (A) (a), 3.3 (A) (b) & 3.3 (B) (i) in State/Central Government Departments or State/Central Government undertakings  issued by the concerned and counter signed by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa  or equivalent authority.

(iii) The GPA holder’s experience shall not be taken into account in determining the bidder’s compliance with qualifying criteria.

Note 3:	Annual turnover, Similar Nature of works experience and existing commitments will be updated to 2020-2021 price level by giving a weightage of 10% per annum to bring them to present price level.

Note 4:	Tenders from joint ventures will not be accepted.

Note 5:	Contractors against whom vigilance/disciplinary/blacklisting cases are pending in the Corporation are not entitled to participate in the tender for the above work.

Note 6:	To quality for a contract made up of this work and other works for which bids are invited in the same Tender Notice, while evaluation for this work, the remaining works shall be taken as existing commitments and added to “B” in the formula “2AN – B” and works will be awarded based on satisfying the bid capacity.

[No relaxation will be given to any of the qualification criteria]

  - Even though the bidders meet the above qualifying criteria, they are liable to be disqualified/debarred/suspended/blacklisted if they have

i)	Furnished false/fabricated particulars in the forms, statements /incomplete information and / annexures submitted in proof of the qualification requirements

ii)	Not turned up for entering into agreement within the time specified

iii)	Record of poor progress such as abandoning the works, not properly completing the contract, inordinate delays in completion, litigation history or financial failures etc.

iv)	Participated in the previous bidding for the same work and had quoted unreasonably high bid percentage and

v)	Even while execution of the work, if found that the work was awarded to the contractor based on false/fake certificates of experience, the contractor will be blacklisted and work will be taken over invoking clause 61 of PS to APSS.

vi)	The tender of the contractor will be disqualified along with the forfeiture of E.M.D and the contractor will be debarred from future tendering for a further period of 3 years in the event of furnishing of false/fraudulent certificates along with the tender

  - Bids with an excess of above 0% of the estimated contract value will summarily be rejected.

  - Additional security Deposit:

For tenders up to 25% less than the estimated contract value of work, no additional security deposit is required. For tenders which are less by more than 25% of the estimated Contract Value of work, the difference between the tendered amount and 75% of the estimated contract value, shall be paid by the successful bidder at the time of concluding agreement as an additional security to fulfil the contract through a net banking details valid till completion of the work in all respects

  - a)	If the percentage quoted by a bidder is found to be either abnormally high or within the permissible ceiling limits prescribed but under collusion or due to unethical practices adopted at the time of bidding process, such bids shall be rejected.

b)	A bidder submitting a bid which the bid accepting authority considers excessive and or indicative of insufficient knowledge of current prices or definite attempt of profiteering will render himself liable to be debarred permanently from biding or for such period as the bid accepting authority may decide.  The bidder overall percentage should be based on the controlled prices for the materials, if any, fixed by the Government or the reasonable prices permissible for the bidder to charge a private purchaser under the provisions of clause-6 of the hoarding and profiteering prevention ordinance of 1943 as amended from time to time and on similar principle in regard to labour supervision on the construction.

  - CONDITIONAL TENDER:

Conditional tenders are not accepted. Submission of tender would be construed as acceptance to all the terms and conditions of the tender which include conditions of contract, drawings and accompanying specifications.

- One bid per bidder:

  - Each bidder shall submit only one bid for the work. A bidder who submits more than one bid will cause disqualification of all the bids submitted by the bidder.

- Cost of biding:

  - The bidder shall bear all costs associated with the preparation and submission of his bid and the bid inviting authority will in no case be responsible and liable for those costs.

- Bid Document

- Contents of bid document:

  - One set of bid document comprises of the following:

Technical bid

1)	Notice inviting tender (NIT)

2)	Instruction to bidders

- Forms of bid and qualification information

4) 	Conditions of contract

5)	Specifications

6)	Drawings

- Forms of securities i.e.  EMD, Additional security etc.

Price bid

Bill of quantities and price bid

- Clarification on bid documents:

  - A prospective bidder requiring any clarification on bid documents may contact the bid inviting officer at the address indicated in the NIT. The bid inviting officer will also respond to any request for clarification, received through post.

- Amendment to bid documents:

  - Before the last date for submission of bids, the bid inviting officer may modify any of the contents of the bid notice, bid documents by issuing amendment/addendum.

  - Any addendum/amendments issued by the bid inviting officer shall be part of the bid document and it shall either be notified in the newspapers in which NIT was published or displayed in e-market place.

  - To give prospective bidders reasonable time to take an addendum into account in preparing their bids, the bid inviting officer may extend if necessary, the last date for submission of bids.

- PREPARATION OF BIDS

- Language of the bid:

  - All documents relating to the bid shall be in the English language only.

- Documents comprising of the bid:

  - The bidders who are desirous of participating in the tender process shall submit their Technical Bids, Price Bids, etc., in the standard formats prescribed in the bid documents. The bidders shall enclose legible copies of all relevant certificates, documents, and supporting records along with the tender documents in support of their Technical Bids. The bidder shall sign all statements, documents, and certificates submitted by him, accepting full responsibility for their correctness and authenticity.

  - Furnishing of hard copies by the bidder before opening of the price bid is dispensed with.

  - The technical bid evaluation of the bidder will be done on the certificates/documents uploaded through online only towards qualification criteria furnished by them.

  - The bidder shall invariably furnish the original demand draft towards bid processing fee and EMD to the concerned The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa before within 96 hours (four days) of bid submission closing time either personally or through courier or by post and the receipt of the same within the stipulated time shall be the responsibility of the bidder. Department will not take any responsibility for any delay or non-receipt. Failure to furnish the original bank slips before the stipulated date and time will entail rejection of bid.

  - Deleted

  - The successful bidder shall furnish the original hard copies of all the documents/certificates/statements uploaded by him before concluding agreement.

  - Deleted.

  - The bidder shall furnish a declaration stating that the documents and information submitted along with the tender are genuine and authentic. Any incorrectness, false information, or deviation noticed at any stage shall be viewed seriously and, apart from cancellation of the work and forfeiture of the EMD, appropriate legal action including criminal prosecution and suspension from participating in future tenders may also be initiated against the bidder.

  - The bidder shall duly sign and authenticate the bid documents before submission. Any bid not signed by the authorized signatory of the bidder or not submitted in the prescribed manner shall be liable for rejection.

  - The Technical Bids will be opened by the Bank on the date and time specified in the bid documents. All statements, documents, certificates, proof of EMD payment, and other particulars submitted by the bidders along with the tender documents shall be scrutinized for technical evaluation. Clarifications or additional particulars, if required, shall be obtained from the bidders through conventional offline correspondence. The Technical Bids shall be evaluated based on the prescribed parameters and eligibility criteria, and the technically qualified bidders shall be identified accordingly. The results of the Technical Bid Evaluation shall be communicated to the bidders in due course.

  - Similarly if any of the certificates, documents etc furnished by the bidder is found to be false/fabricated/bogus/incomplete/part information, the bidder will be black listed and the E.M.D will be forfeited.

Note:	As per G.O Ms No. 174, I&CAD (PW-Reforms) Department Dated: 01/09/2008, the following modifications are made:

(i)  All the bidders shall invariably submit copies of the Demand Draft/Banker’s Cheque or proof       	of online payment towards EMD along with the tender documents. Submission of such proof 	of EMD payment shall be treated as a primary requirement for considering the bid as 	responsive.

(ii)The Department shall carry out the Technical Bid Evaluation solely based on the 	certificates/documents and proof of payment towards EMD submitted along with the tender 	documents, and shall open the Price Bids of only those bidders found responsive and technically 	qualified.

(iii) The Department will notify the successful bidder for submission of original hard copies of 	all uploaded documents, / Details of net banking payment  towards Earnest Money Deposit 	prior to entering into agreement.

- The successful bidder shall invariably furnish the original / Details of net banking payment towards Earnest Money Deposit, certificates/ documents of the uploaded scanned copies to the tender inviting authority before entering into agreement either personally or through courier or post and the receipt of the same with in the stipulated date shall be the responsibility of the successful bidder.

- The Department will not take any responsibility for any delay in receipt/non receipt of original / Details of net banking payment towards earnest money deposit, certificates/Documents from the successful bidder before the stipulated time. On receipt of documents, the Department shall ensure the genuinely of the / Details of net banking payment towards Earnest Money Deposit and all other certificates/documents uploaded by the bidder in e-procurement system in support of the qualification criteria before concluding the agreement.

- If the successful bidder fails to submit the original hard copies of the certificates/documents and proof of payment towards Earnest Money Deposit (EMD) within the stipulated time, or if any discrepancy or variation is noticed between the documents submitted with the tender and the original documents produced by the bidder, such bidder shall be liable for suspension from participating in the Department’s tenders for a period of three (3) years. In addition, the Department reserves the right to initiate appropriate legal action, including criminal prosecution, against such defaulting bidder as a deterrent measure to avoid delays in the tender process and execution of the development works undertaken by the Government

- Bid Offer:

  - Bill of quantities called Schedule-A and the bid offer accompanies the bid document as Volume-II. It shall be explicitly understood that the bid inviting officer does not accept any responsibility for the correctness or completeness of this schedule-A and this Schedule-A is liable to alterations by omissions, deductions or additions at the discretion of The Chief Executive Officer, Kadapa District Co-Operative Central Bank Ltd., Kadapa or as set forth in the conditions of the contract. The Schedule-A shall contain the items of work indicated as Part–I and LS provisions as Part–II. The percentage quoted by the bidder shall be applicable only to Part-I.  However, the provisions contained in the Part-II will be operable basing on the conditions provided in the bid document. The bidders will have to state clearly their willingness to execute the work at certain specific percentage of excess or less or at par of the ECV indicated in Part-I at the space provided therein in Schedule-A. The L.S amounts indicated in Part-II are maximum reimbursable amounts. The bidder should however quote his lump sum bid based on this schedule of quantities. He should quote his offer as a overall bid percentage. The overall bid percentage should be written both in words and figures.

  - The Schedule-A (or price bid) contains not only the quantities but also the rates worked out by the Department and the amount for each item and total value of the estimated contract. The bidder should workout his own rates keeping in view the work, site conditions and quote his overall bid percentage with which he intends to execute the work.

  - The bid offer shall be for the whole work and not for individual items/part of the work.

  - All duties, taxes, and other levies payable by the contractor as per State/Central Government rules excluding GST shall be included in the bid percentage quoted by the bidder.

  - The bidded contract amount as computed based on overall bid percentage is subject to variation during the performance of the contract in accordance with variation in quantities etc.

- Validity of bids:

  - Bids shall remain valid for a period of 6 (Six) months from the last date for receipt of technical bids as specified in NIT.

  - During the above mentioned period no plea by the bidder for any sort of modification of the bid based upon or arising out of any alleged misunderstanding of misconceptions or mistake or for any reason will be entertained.

  - In exceptional circumstances, prior to expiry of the original time limit, the bid inviting officer may request the bidders to extend the period of validity for a specified additional period. Such request to the bidders shall be made in writing. A bidder may refuse the request without forfeiting his E.M.D. A bidder agreeing to the request will not be permitted to modify his bid, but will be required to extend the validity of his E.M.D for a period of the extension.

- Earnest money deposit:

  - All the intending bidders shall furnish the E.M.D equivalent to 1% of ECV to be paid along with the bids in the form of either a Net Banking payment / Challan Generation / BG as per GO MS No. 8 Dt. 08.05.2016 in favour of The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa. This will be the primary requirement to consider the bid as responsive. Original bank slips is to be scanned and uploaded along with the bid. Only successful bidder notified by the Department has to submit the original bank slips to The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa through registered post/courier/in person so as to reach before the date specified in the intimation notice. The Department will not take any responsibility for any delay in receipt/non receipt of original net banking payment details towards Earnest Money Deposit. Failure to furnish the original demand draft/net banking details within the stipulated date & time, the bidder will be suspended from participating in tenders on e-procurement platform for a period of 3 years including criminal prosecution as per G.O Ms No.174, Irrigation & CAD (PW-Reforms) Department Dated: 1/09/2008. The suspension of bidder shall be automatically enforced by the e-procurement system.

The balance EMD @ 1½% of ECV/TCV which ever is higher shall be paid at the time of concluding agreement by the successful bidder.  This EMD can be in the form of:

- Net baking payment details from any Nationalised/Schedule Bank.

  - Demand EMD shall be valid for a period of 3 (Three) months from the date of bid notice.

  - Deleted

  - Successful bidder has to submit the original online / Challan Generation payment / BG to The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa through registered post/courier/in person so as to reach before the date specified in the intimation notice. However, this 1% E.M.D paid by the successful bidder along with submission of bid, will be discharged only after signing the agreement if the bidder furnishes bank guarantee for the full EMD of 2½% of tender contract value/estimated contract value which ever is higher at the time of concluding agreement. For tenders which are less by more than 25% of the estimated contract value of work, the difference between the tendered amount and 75% of the estimated contract value, shall be paid by the successful bidder at the time of concluding agreement as an additional security to fulfil the contract through a net banking payment or Demand Draft on a Nationalised Bank/Scheduled bank valid till completion of the work in all respects.

  - The earnest money deposited by the successful bidder will not carry any interest and it will be dealt with as provided in the conditions stipulated in the tender. The E.M.D given in the form of Demand Draft on a nationalised /scheduled bank, shall be valid for the duration of contract period plus defect liability period of two years and in case any valid extension of contract period is granted, the validity of Demand Draft shall also be extended for the corresponding period. The Demand Draft on nationalised/scheduled bank furnished by the bidder towards additional security amount shall be valid till the work is completed in all respects.

  - The E.M.D. shall be forfeited

- if the bidder withdraws the bid during the validity period of bid.

- in the case of a successful bidder, if he fails to sign the agreement for whatever the reason.

  - In consideration of The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa undertaking to investigate and to take into account each tender and in consideration of the work thereby involved, all earnest monies deposited by the bidder will be forfeited to the Government in the event of such bidder either modifying or withdrawing his bid at his instance within the said validity period of 3 (Three) months.

  - If any successful bidder fails to submit the original hard copies of Net banking payment details towards earnest money deposit with in the stipulated time or if any variation is noticed between the uploaded Net banking payment and the hard copies submitted by the bidder, the successful bidder will be suspended from participating in the tenders on e-procurement platform for a period of 3 years.  The e-procurement system would deactivate the ID of such defaulting successful bidder based on the trigger/recommendation by the tender inviting authority in the system. Besides this, the Department shall invoke all processes of law including criminal prosecution of such defaulting bidder as on act of extreme deterrence to avoid delays in the tender process for execution of the development schemes taken up by the Government.

- Signing of bids:

  - If the bid is made by an individual, it shall be signed with his full name and his address shall be given. If it is made by a firm, it shall be signed by an authorised partner (with proof) who shall also sign his own name, and the name and address of each member of the firm shall be given, if the bid is made by a corporation it shall be signed by a duly authorised officer who shall produce with his bid, satisfactory evidence of his authorisation. Such bidding corporation may be required before the contract is executed, to furnish evidence of its corporate existence. Bids signed on behalf of G.P.A. holder will be rejected.

D.	SUBMISSION OF BIDS

- Submission of bids

  - All intending bidders desirous of participating in the tender process shall submit their Technical Bids, Price Bids, etc., in the standard formats prescribed in the bid documents. The bidders shall submit legible copies of all relevant certificates and supporting documents in support of their Technical Bids along with the tender documents. All statements, documents, and certificates submitted by the bidder shall be duly signed by the authorized signatory, who shall be fully responsible for their correctness and authenticity.

  - Deleted.

  - The Corporation will not hold any risk and responsibility for the loss in transit during uploading of the scanned document for the invisibility of the scanned document online and any other problem(s) like any internet connectivity, loss of power supply etc., encountered by the bidder while submitting his bid online.

  - All related certificates, documents, and other supporting records, duly self-attested, shall be submitted along with the tender documents. The prescribed bid documents can be downloaded from  http://www.kadapadccb.bank.in.

  - The bidder shall mandatorily pay the transaction fee to APTS through the electronic payment gateway.

  - The bidder shall invariably submit self-attested copies of the following certificates, documents, and other supporting records to substantiate the particulars furnished in the bid application. The prescribed tender documents may be downloaded from  http://www.kadapadccb.bank.inin The bidder shall invariably ensure that the following are submitted in conventional method (offline):

- Check slip

- Copy of contractors Registration Certificate under appropriate Class with Government of Andhra Pradesh

- Copy of Permanent Account Number (PAN) card and copy of latest income tax returns submitted along with proof of receipt (For the assessment year 2025-2026).

- Copy of GST registration certificate under GST Act 2017 and latest GST clearance certificate. (to be furnished by successful bidder to The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa at the time of concluding Agreement)

- Particulars of value of Civil Engineering works executed in the name of bidder in the last five financial years in Statement-I along with work done certificates in support of the figures.

- Details of similar works executed as Prime Contractor (in the same name) during the last five financial years showing year wise break up of value of work executed in Statement-II duly supported with work done certificates, work wise and year wise.

- Physical quantities of specified works executed as Prime Contractor (in the same name) in the last five financial years with year wise break up work wise in Statement- III duly supported with work done certificates.

- Information on ‘existing commitments’ with supporting certificates in Statement-IV.

- Availability of Key & critical equipment in Statement- V

- The bidder has to submit a declaration on non judicial stamp paper worth Rs.100/- as prescribed in Statement V along with sufficient proof of document in support of owning such as invoice / Certificate of registration by competent authority in support of the critical equipment. Also declaration on stamp paper of worth Rs.100/- towards owning / leasing of critical machinery shall be furnished along with the consent taken from lessor.

- Availability of Key personnel in Statement -VI.

- Information on litigation history in Statement- VII.

- Proof of Liquid assets in the shape of Solvency certificate (see Annexure II of bid document) for the required amount

- Proposed methodology and program of construction, backed with equipment planning and deployment, duly supported with broad calculations, justifying their capability of execution and completion of the work as per technical specifications within the stipulated period of completion as per milestones.

- Particulars of quality control testing Lab owned OR tie up with established quality control testing laboratories along with required equipments as per statement-VIII.

- Self declaration by the bidder in proof of going through all bid conditions (see format below check list)

- Net banking payment towards Earnest Money Deposit

- Transaction fee through electronic payment gateway.

- Non refundable bid processing fee in shape of demand draft in favour of concerned The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa

  - Important Note:

The bidder shall authenticate the bid with his digital certificate for submitting the bid electronically on e-procurement Platform and the bids not authenticated by Digital certificate of the bidder will not be accepted on the e-procurement platform.

- Deleted

- Last date/time for submission of the bids:

  - Bids must be submitted not later than the date and time specified in NIT. In the event of the specified date/time for the submission of bids declared as holiday, the bids will be received on the next working day up to the time specified only after issue of corrigendum.

  - or his nominee may extend the dates for issue and receipt of bids by issuing an amendment in which case all rights and obligations of    and the bidders will remain same as previously.

- Late bids:

  - E-procurement platform will not receive any bids after the last date/time prescribed in NIT/bid document.

- Modification to the bid

  - No bid shall be modified after the last date /time of submission of bids.

# BID OPENING AND EVALUATION

- Bid opening

  - The Technical Bids will be opened by the Deputy General Manager (Premises), Kadapa District

Co-Operative Central Bank Ltd., Kadapa, on the date and time specified in the Notice Inviting Tender. All statements, documents, certificates, Demand Drafts/proof of EMD payment, and other particulars submitted by the bidders along with the tender documents shall be scrutinized for technical evaluation. The Technical Bids shall be evaluated based on the prescribed parameters and eligibility criteria, as applicable to conventional tender procedures, and the technically qualified bidders shall be identified accordingly. The results of the Technical Bid Evaluation shall be communicated to the participating bidders in due course.

- Clarification on the technical bid

  - The tender opening authority may call up on any bidder for clarification on the statements, documentary proof relating to the technical bid. The request for clarification and response thereto shall be in writing and it shall be only on the qualification information furnished by the bidder. The clarification called for from the bidder shall be furnished within the stipulated time, which shall not be more than a week.

  - The bidder if so desirous, shall agree in writing to furnish the clarification called for within the stipulated time and, for disqualification and rejection of his bid in the event of failure to do so.

- Examination of technical bids and determination of responsiveness

  - The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa will evaluate whether each bidder is satisfying the eligibility criteria prescribed in the tender document and declares them as a qualified bidder.

  - If the technical bid of a bidder is not satisfying any of the eligibility criteria it will be rejected by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa. However, if the bid accepting authority detects any error in the evaluation of bids by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa, the bid accepting authority while returning the bids may direct The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa as the case may be, to re-evaluate the bids.

  - If any alteration is made by the bidder in the bid documents, the conditions of the contract, the drawings, specifications or statements/formats or quantities, the bid will be rejected.

- Price bid opening

  - Only the price bids of qualified bidders whose technical bids are found satisfying the eligibility criteria shall be opened on line.

  - The price bid of the bidders whose technical bids are not satisfying eligibility criteria, will not be opened.

  - Bids shall be scrutinised in accordance with the conditions stipulated in the bid document. In case of any discrepancy of non-adherence conditions, the bid accepting authority shall communicate the same which will be binding both on the bid opening authority and the bidder. In case of any ambiguity, the decision taken by the bid accepting authority on bids shall be final.

- Evaluation and comparison of price bids:

  - will evaluate and compare the price bids of all the qualified bidders.

  - Negotiations at any level are strictly prohibited.  However, as a good gesture rebate, if offered by the lowest bidder prior to finalisation of bids may be accepted by the bid accepting authority.

  - Selection of bidder among the lowest & equally quoted bidders will be in the following orders:

- The bidder whose bid capacity is higher will be selected.

- In case the bid capacity is also same, the bidder whose annual turnover is more will be preferred.

- Even if the criteria incidentally become the same, the turnover on similar works and thereafter machinery available for the work and then the clean track record will be considered for selection.

- Discrepancy in bid percentage quoted:

  - Deleted

- Process to be confidential

  - Information relating to the examination, clarification, evaluation and comparison of bids and recommendations for the award of a contract shall not be disclosed to bidders or any other persons not officially concerned with such process until the award to the successful bidder has been announced by the bid accepting authority. Any effort by a bidder to influence the processing of bids or award decisions may result in the rejection of his bid.

  - No bidder shall contact /The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa or any authority concerned with finalisation of bids on any matter relating to its bid from the time of the bid opening to the time the contract is awarded. If the bidder wishes to bring additional information to the notice of   / The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa , it should do so in writing.

  - Before recommending /accepting the bid, the bid recommending/accepting authority shall verify the correctness of certificates submitted to meet the eligibility criteria and specifically experience. The authenticated agreements of previous works executed by the lowest bidder shall be called for.

# F.	AWARD OF CONTRACT

- Award criteria:

  - The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa will award or recommend to the competent bid accepting authority for award of the contract to the bidder who is found technically qualified as per the bid conditions and whose price bid is lowest.

  - The bid accepting authority reserves the right to accept or reject any bid or all bids and to cancel the biding process, at any time prior to the award of contract, without thereby incurring any liability to the affected bidder or bidders or any obligation to inform the affected bidder or bidders of the reasons for such action.

- Notification of award and signing of agreement:

  - The bidder whose bid has been accepted will be notified of the award of the work by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa  prior to expiration of the bid validity period by registered letter/e-mail in online/Fax. This letter (hereinafter and in the conditions of contract called “Letter of acceptance”) will indicate the sum that the Government will pay the contractor in consideration of the execution, completion, and maintenance of the works by the contractor as prescribed by the contract (hereinafter and in the contract called the “Contract amount”).

  - When a bid is accepted the concerned bidder shall attend the office of The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa on the date fixed in the letter of acceptance. Upon intimation being given by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa  of acceptance of his bid, the bidder shall make payment of the balance E.M.D and additional security deposit wherever needed by way of Demand Draft or Net banking payment from a Nationalised Bank/Schedule Bank with a validity period of duration of Contract period of 6 Months plus defects liability period of 2 years (i.e total 30 months) along with required documents notified in the intimation notice and sign an agreement in the form prescribed by the Department for the due fulfilment of the contract. Failure to attend The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa office on the date fixed in the written intimation to enter into the required agreement shall entail forfeiture of the earnest money deposited. The written agreement to be entered into between the contractor and the Corporation shall be the foundation of the rights and obligations of both the parties and the contract shall not be deemed to be completed until the agreement has first been signed by the contractor and then by the proper officer authorised to enter into contract on behalf of the Corporation.

  - The successful bidder has to sign an agreement within a period of 15 days from the date of receipt of communication of acceptance of his bid by registered letter/e-mail in online/Fax. On failure to do so his bid will be cancelled duly forfeiting the E.M.D paid by him without issuing any further notice and action will be initiated for black listing the bidder.

  - The successful bidders who back out from entering into agreement at the last minute, causing loss to the Government will be debarred for one year from participating in the tendering process of any department of the Government besides forfeiture of the 1% EMD.

  - In case a successful bidder of a single bid received backs out from entering into agreement, the EMD will be forfeited but the period debarring him from participating in the tendering process of any department of the Government will be restricted to six months only.

FORMS OF BID

QUALIFICATION INFORMATION

AND

## UNDER TAKING OF BIDDER

QUALIFICATION INFORMATION

## Annexure –I

###### CHECKLIST TO ACOMPANY THE BID

Documents to be submitted by bidder on the conventional method (offline)

| Sl.No | Document to be uploaded to profile | Description to be given | Scanned documents to be uploaded | Page No. (see Note below) |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |
| 1 | (a) Contractors valid registration under appropriate class and category with Government of Andhra Pradesh (for Civil , PH and Electrical categories) (b) Partnership deed in case of firms & article of association in case of companies | Civil Registration | Yes / No |  |
| 2 | Consent letters from eligible contractor’s for Public Health Engineering & Electrical works with ‘A” Grade Licence along with their registrations is required if self registration is not available. | PH & Electrical Registrations | Yes / No | Optional |
| 3 | EMD Paid by way of Online / Challan Generation / BG | EMD | Yes / No |  |
| 4 | Transaction fee through electronic gateway payment | Transaction Fee | Yes / No |  |
| 5 | Scanned copy of Bid processing fee by way of Online only | Bid processing Fee | Yes / No |  |
| 6 | Copy of PAN card & proof of submission of latest income tax returns along with proof for the assessment year 2025-26. | Income Tax Documents | Yes / No |  |
| 7 | Copies of GST registration | GST Document | Yes / No |  |
| 8 | Details of Similar nature of works completed as prime contractor (in the same name) during the last five financial Years for any one financial year in Statement-II with supporting certificates duly issued by the EEs and countersigned by the SE/Higher authorities. | Similar Works | Yes / No |  |
| 9 | Quantities of work executed as prime contractor (in the same name) in the last 5 financial years for any one financial year in Similar nature of works in Statement-III with supporting certificates duly issued by the EEs and countersigned by the SE/Higher authorities. | Executed Quantities | Yes / No |  |

| 10 | Bidder to submit a declaration on non judicial stamp paper worth Rs.100/-as prescribed in Stat.V along with sufficient proof of document in support of owning such as invoice/Cetificate of regn.by competent authority in support of the critical equipt.Also declaration on stamp paper of worth Rs.100/-towards own/lease of critical machinery shall be furnished along with the cosent taken from lessor | Critical Equipment | Yes / No |  |
| --- | --- | --- | --- | --- |
| 11 | Declaration on critical equipment on non-judicial stamp paper worth of Rs.100/- | Declaration on critical equipment | Yes / No |  |
| 12 | Proof of owning quality control laboratory or tie up with an established quality control testing laboratories along with the required equipment as specified in bid document for the works with ECV more than Rs. 200.00 Lakhs | QC Lab | Yes / No |  |
| 13 | Declaration on quality control laboratory along with required equipments on non-judicial stamp paper worth of Rs. 100/- as per statement-VIII | Declaration on QC Lab | Yes / No |  |
| 14 | Availability of key personnel along with qualification certificates in Statement-VI | Technical Agents | Yes / No |  |
| 15 | Proof of liquid assets/credit facilities/ solvency certificates from banks in the format given in the bid document | Credit facilities | Yes / No |  |
| 16 | (a) Details of Civil Engineering works executed in the last 5 financial years in the bidder’s name in Statement-I with supporting certificates (b) Certificate from Chartered Accountant supported with Annual Balance Sheet tallying with I.T. Clearance certificate & Profit & Loss account. | Annual Turnover | Yes / No |  |
| 17 | (a) Statement of existing commitments in ongoing Govt. works along with supporting experience certificates as in Statement- IVA Note: Information about B value of the Bidders available through online will also be considered for evaluation purpose if necessary | Existing commitments | Yes / No |  |
| 18 | Statement of works for which tenders are submitted and likely to be awarded as in Statement IV-B | Works awarded/likely to be awarded | Yes / No |  |
| 19 | Information on litigation history as in Statement VII | Litigation history | Yes / No |  |
| 20 | Declaration in on line stating that the soft copies uploaded by them are genuine | Undertaking | Yes / No |  |

| 21 | Self-declaration by the bidder in proof of going through all bid conditions (see format below check list) | Declaration | Yes / No |  |
| --- | --- | --- | --- | --- |
| 22 | Any other certificates required as per NIT | Any other certificates | Yes / No |  |

Note:-

      - The documents shall be submitted in an orderly manner with proper indexing and suitable description, as prescribed in the tender conditions.

      - The scanned documents shall be legible failing which they will not be considered.

      - Shall sign on all statements, documents, certificates uploaded owning responsibility for their correctness/authenticity.

      - All experience certificates including those in support of existing commitments issued by an Officer not below the rank of Concerned and should be countersigned by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa or equivalent authority.

      - The E.M.D should be in shape of DD/Net Banking payment adhered to as per bid conditions. Any deviation will result in making the bid non-responsive. Further all other Demand Draft /Net banking payment to be submitted at the time of agreement and for advance payment should also be in the formats prescribed in the bid document.

      - All the statements, copies of the certificates, documents etc., enclosed to the technical bid shall be signed by the bidder and given page numbers on the right corner of each certificate, which will be indicated in column (5) against each item. The statements furnished shall be in the prescribed formats appended to the bid document.

      - The information shall be filled-in by the bidder in the checklist and statements-I to VII and shall be enclosed to the technical bid for the purposes of verification as well as evaluation of the bidder’s compliance to the qualification criteria as provided in the bid document. All the certificates, documents, statements as per check-list shall be submitted by the bidder.

### DECLARATION

I/We __________________________ have gone through carefully all the bid conditions and solemnly declare that I/We will abide by any penal action such as disqualification or black listing or determination of contract or any other action deemed fit, taken by the Department against me/us if it is found that the statements, documents, certificates produced by me/us are false/fabricated.

I/We hereby declare that, I/We have not been blacklisted/debarred/suspended/demoted in any department in Andhra Pradesh or in any State due to any reasons.

STATEMENT – I

Details of value of Civil Engineering works executed in each year during the last five financial years by the bidder:

| Sl. No | Financial Year | Value in Rs. |
| --- | --- | --- |
| 1. 2. 3. 4. 5. | 2021-2022 2022-2023 2023-2024 2024-2025 2025-2026 |  |

  - Attach certificate(s) issued by the Concerned/Equivalent officer concerned and counter signed by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa / Equivalent officer showing work wise/year wise value of work done in respect of all the works executed by the bidder during last five years.

STATEMENT – II

Details of similar works completed in the name of the bidder during the last five financial years:

| Sl. No | Name of the work | Address of Agt. concluding authority | Agreement No. & date | Value of contract |
| --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 |

| Stipulated period of completion | Actual date of completion | Value of work done year wise during the last ‘five’ years |  |  |  |  | Total value of work done |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 1st Year | 2nd Year | 3rd Year | 4th Year | 5th Year |  |
| 6 | 7 | 9 | 10 | 11 | 12 | 13 | 14 |

  - Attach certificate(s) issued by the Concerned/Equivalent officer concerned and counter signed by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa / Equivalent officer showing work wise/year wise value of work done in respect of all the works executed by the bidder during last five years.

STATEMENT – III

Physical quantities executed by the bidder in the last five financial years [work wise/year wise]:

| Sl No | Financial Year | Name of the work | Agt.No | Quantities executed / Year wise. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | EWE | PCC/ RCC/ VRCC | Stone masonry / Brick masonry |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
| 1 | 2021-2022 |  |  |  |  |  |
| 2 | 2022-2023 |  |  |  |  |  |
| 3 | 2023-2024 |  |  |  |  |  |
| 4 5 | 2024-2025 2025-2026 |  |  |  |  |  |

  - Attach certificate(s) issued by the Concerned/Equivalent officer concerned and counter signed by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa /Equivalent officer duly showing the quantities executed year wise during last five years.

STATEMENT – IV

Details of existing commitments

Details of works on hand and, yet to be completed as on the date of submission of the bid and works for which bids have been submitted are to be furnished.

- Existing commitments on ongoing works:

| Sl.No | Name of work | Address of Agt. conclu-ding authority | Agt. No. & Date | Value of cont-ract | Stipul-ated period of comp-letion | Value of work done so far | Balance Value of works to be comple-ted | Antici-pated date of comp-letion | Updated value of balance work |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |

- Attach certificates issued by the Concerned/equivalent officer concerned and countersigned by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa /equivalent officer indicating the balance work to be done and likely period of completion.

STATEMENT – IV

- Details of works for which bids are submitted [awarded/likely to be awarded]:

| Sl. No | Name of work | Address of Agt. concluding authority | Estimated value of work | Stipulated period of completion | Date on which bid was submitted | Present stage of bid |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |
|  | Enclosed |  |  |  |  |  |

STATEMENT - V

Availability of critical equipment:

The bidder should furnish the information required below, regarding the availability of the equipment, required for construction/quality control.

| Sl.No | Details of equipment | Number required | Number |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  | Owned | Leased | To be procured |
| 1 | 2 | 3 | 4 | 5 | 6 |
| 1 | Steel centring | 1000 Sqm |  |  |  |
| 2 | Pin vibrators | 2 Nos |  |  |  |
| 3 | Pan vibrators | 2 Nos |  |  |  |
| 4 | Weigh batchers | 1 Nos |  |  |  |
| 5 | Concrete mixers | 1 Nos |  |  |  |

A declaration regarding the equipment owned shall be produced by the bidder on a non-judicial stamp paper of Rs. 100/- as below:

DECLARATION

“I __________________________  do hereby solemnly affirm and declare that I/we own the following equipment for using on the subject work and also declare that I/We will abide by any action such as disqualification or determination of Contract or blacklisting or any action deemed fit, if the department detects at any stage that I/we do not possess the equipment listed below.

| Sl. No | Details of each equipment | Year of purchase | Regn. Number | Capacity | Any other data | Is it in working condition |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |

STATEMENT – VI

Availability of key personnel:

Qualification and experience of key personnel proposed to be deployed for execution of the contract:

| Sl. No | Name | Designation | Qualification | Total experience | Working with the bidder since |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
|  | Furnished |  |  |  |  |

STATEMENT - VII

Information on litigation history in which bidder is the petitioner:

| Sl. No | Case No/Year | Court where filed | Subject matter/prayer in the case | Respondents i.e., SE/CE | Present stage |
| --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 |
|  | NIL |  |  |  |  |

STATEMENT - VIII

(IN CASE OF WORKS COSTING MORE THAN RS.2.00 CRORES)

DECLARATION

Deleted

UNDERTAKING OF BIDDER

Date: ________

To:

The Chief Executive Officer,

Kadapa District Co-Operative Central Bank Ltd., Kadapa ,

Sir,

I/We  hereby submit our bid and if this bid is accepted, I/We undertake to execute the following work viz., Construction of The Kadapa District Cooperative Central Bank Ltd., Duvvur Branch Building at Duvvur (V&M) in YSR Kadapa District - Estimate Cost of Rs. 70.00 Lakhs as shown in the drawings, specifications  and conditions of contract available  in the office of The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa,  and also available on the website: WWW.Kadapadccb.bank.in.

I/We further agree to execute the said work with such variations, alterations, additions to, or omissions from the works as may be directed, and in accordance with the method of payment provided under the Conditions of Contract, for the sum of _____________________ (Rupees __________________________ only) or for such other sum as may be determined under the relevant clauses of the Standard Preliminary Specifications relating to payment on lump-sum basis or by final measurements at unit rates.

I/We have also quoted percentage excess or less on E.C.V., in Schedule-A Part-I annexed (in words and figures) for which I/We agree to execute the work when the lump sum payment under the terms of the agreement is varied by payment on measurement quantities.

I/We have quoted the percentage excess or less over the Estimated Contract Value (E.C.V.) in Schedule–A, Part–I, and the percentage quoted in figures in the Financial Bid shall alone prevail.

I/We agreed to keep the offer in this bid valid a period of three months mentioned in the bid notice and not to modify the whole or any part of it for any reason within above period.  If the bid is withdrawn by me/us for any reasons whatsoever, the earnest money paid by me/us will be forfeited to Bank.

I/We hereby distinctly and expressly, declare and acknowledge that, before the submission of my/our bid I/We have carefully followed the instructions in the bid notice and have read the A.P.S.S. and the preliminary specifications therein and the A.P.S.S. addenda volume and that I/We have made such examination of the contract documents and the plans, specifications and quantities and of the location where the said work is to be done, and such investigation of the work required to be done, and in regard to the material required to be furnished as to enable me/us to thoroughly understand the intention of same and the requirements, covenants, agreements, stipulations and restrictions contained in the contract, and in the said plans and specifications and distinctly agree that I/We will not hereafter make any claim or demand upon the Government based upon or arising out of any alleged misunderstanding or misconception/or mistake on my/or our part of the said requirement, covenants, agreements, stipulations, restrictions and conditions.

I/We enclosed to my/our bid a crossed demand draft/Net banking payment (No.…………………….Dated:..........) for Rs…............/- as earnest money not to bear interest.

I/We enclosed to my/our bid a crossed Demand Draft (No. ……………..Dated:………) for Rs. …………/- towards  Processing fee which is non-refundable.

I/We shall not assign the contract or sublet any portion of the same. In case, if it becomes necessary such subletting with the permission of the Engineer-in-Charge, shall be limited to (1) Labour contract (2) Material contract (3) Transport contract (4) Engaging specialists for special items of work enjoined in A.P.S.S

If MY/OUR bid is successful, on notification by the Department, I/We will submit the original Demand Draft /Net banking payment towards the EMD to the concerned The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa through registered post/courier/in person so as to reach before the date specified in the intimation notice. If my/our bid is accepted the earnest money shall be retained by the Corporation as security for the due fulfilment of this contract. If upon written intimation to me/us by the Superintending/Concerned’s office, I/We fail to attend the said office on the date herein fixed or if upon intimation being given to me/us by the Superintending/Concerned or acceptance of my/our bid, and if I/We fail to make the additional security deposit or to enter into the required agreement then I/We agree the forfeiture of the earnest money. Any notice required to be served on me/us here under shall be sufficiently served on me/us if delivered to me/us hereunder personally or forwarded to me/us by post to (registered or ordinary or e-mail or fax) or left at my/our address given herein.  Such notice shall if sent by post be deemed to have been served on me/us at the time where in due course of post it would be delivered at the address to which it is sent.

I/We fully understand that the written agreement to be entered into between me/us and Bank shall be the foundation of the rights of the both the parties and the contract shall not be deemed to be complete until the agreement has first been signed by me/us and then by the proper officer authorised to enter into contract on behalf of Bank.

I/WE agree to pay the corpus fund at 0.04% or as amended from time to time on estimated contract value of the work through a demand draft drawn in favour of The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa, A.P Technology Services, Vijayawada at the time of conclusion of Agreement.

I/WE agree to pay the service charges at 0.06% or as amended from time to time on estimated contract value of the work through a demand draft drawn in favour of The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa, A.P Education Welfare Infrastructure Development Corporation, Kadapa at the time of conclusion of Agreement.

I am/we are professionally qualified and my/our qualifications are given below:

| Name & Address | Qualification |
| --- | --- |

I/We will employ the following technical staff for supervising the work and will see that one of them is always at site during working hours, personally checking all items of works and pay extra attention to such works as required special attention (eg) reinforced concrete work.

| Name of members of technical staff proposed to be employed | Qualification |
| --- | --- |

I/We declare that I/We agree to recover the salaries of the technical staff actually engaged on the work by the department, from the work bills, if I/We fail to employ technical staff as per the bid condition.

BIDDER’S/CONTRACTOR’S CERTIFICATE:

- I/We hereby declare that I/We have perused in detail and examined closely the Andhra Pradesh Standard Specifications/BIS/IRC MORTH, all clauses of the preliminary specifications with all amendments and have either examined all the standards specifications or will examine all the standard specifications for items for which I/We bid, before I/We submit such bid and agree to be bound and comply with all such specifications for this agreement which I/We execute in Bank.

- I/We certify that I/We have inspected the site of the work before quoting my percentage

excess or less on ECV, I/We have satisfied about the quality, availability and transport

facilities for all the materials.

- I/We am/are prepared to furnish detailed data in support of all my quoted rates, if and when called upon to do so without any reservations.

- I/We hereby declare that I/We will pay an additional security deposit in terms of instructions to bidders.

- I/We hereby declare that I am/we are accepting to reject my bid in terms of instructions to bidders.

- I/we hereby declare that I/we abide by the decision of the Corporation regarding obtaining specific approval from the Government for payment of any price adjustment. The decision of the Government will be final.

- I/We hereby declare that I am/We are accepting for the defect liability period as 24 Months

- a)	I/We declare that I/WE will procure the required construction materials including earth and use for the work after approval of the Engineer-in-Charge. The responsibility for arranging and obtaining the land for borrowing or exploitation in any other way shall rest with me/us for the materials for construction, I/We shall ensure smooth and un-interrupted supply of materials.

- I/We declare that the responsibility for arranging and obtaining the land for disposal of spoil/soil not useful for construction purposes shall rest with me/us.

- I/We declare that I/We shall not claim any compensation or any payment for the land so arranged for disposal of soil and the land for borrow area.  My/our quoted percentage excess over or less than ECV are inclusive of the land so arranged and I/We will hand over the land so arranged for disposal of soil to the Bank after completion of work.

- I/We declare that I/WE will not claim any extra amount towards any material used for the work other than the quoted works for respective schedule-A items.

- I/We declare that I/WE will execute the work as per the mile stone programme, and if I/WE fail to complete the work as per the mile stone programme I abide by the condition to recover liquidated damages as per the bid conditions.

- I/We declare that I/WE will abide for settlement of disputes as per the bid conditions.

DECLARATION OF THE BIDDER:

- I/We have not been black listed in any Department/Corporation of State/Central Govt. due to any reasons.

- I/We have not been demoted to the next lower category for not filing the bids after buying the bid schedules in a whole year and my/our registration has not been cancelled for a similar default in two consecutive years.

- I/We agree to disqualify me/us for any wrong declaration in respect of the above and to summarily reject my/our bid.

I/WE __________________________   have gone through carefully all the bid conditions and solemnly declare that  I/we will abide by any penal action such as disqualification or black listing or determination of contract or any other action deemed fit, taken by, the Department against us, if it is found that the statements, documents, certificates produced by us are  false/fabricated.

Address of the bidder:  __________________________

Phone No:

Note:	If the bid is made by an individual, it shall be signed with his full name and his address shall be given.  If it is made by a firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name and the name and address of each member of the firm shall be given. If the bid is made by a corporation, it shall be signed by a duly authorised officer who shall produce with his tender satisfactory evidence of his authorisation. Such tendering corporation may be required before the contract is executed, to furnish evidence of its corporate existence.  Bids signed on behalf of G.P.A holder will be rejected.

# Conditions of Contract

- General

- Interpretation:

  - In interpreting these conditions of contract, singular also means plural, male also means female, and vice-versa. Headings have no significance. Works have their normal meaning under the language of the contract unless specifically defined. The Engineers-in-Charge will provide instructions clarifying queries about the conditions of contract.

  - The documents forming the contract shall be interpreted in the following order of priority:

- Agreement

- Letter of acceptance, notice to proceed with the works

- Contractor’s bid (Technical bid)

- Conditions of contract

- Specifications

- Drawings

- Bill of quantities (Price bid)

- Any other document listed as forming part of the contract

- Engineer-in-Charge’s decisions:

  - Except where otherwise specifically stated, the Engineer-in-Charge will decide the contractual matters between the Department and the contractor in the role representing the Department.

- Delegation:

  - The Engineer-in-Charge may delegate any of his duties and responsibilities to other officers and may cancel any delegation by an official order issued.

- Communications and legal address – Notices:

Communications between parties, which are referred to in the conditions, are effective only when in writing. A notice shall be effective only when it is delivered (in terms of Indian Contract Act).

- Sub contracting: 	- Not Allowed –

The contractor / firm will not be permitted to sub let either the whole work or a part of the work without prior permission from the competent authority. If the contractor / firm is found at any instance during the period of execution, that the whole work or a part of the work is Sub-let to any other agency / firm or to any other contractor without the approval of competent authority, legal proceedings will be initiated and such contractor for the default and further the work done not paid and all the security deposits lodged by the contractor will be forfeited and no correspondence will be entertained in this regard.

- Other contractors:

6.1	The contractor shall cooperate and share the site with other contractors, public authorities, utilities, and the Department. The contractor shall also provide facilities and services for them as directed by the Engineer-in-Charge.

- Personnel:

  - A – The Contractor / Agency Should employ separate Technical Personnel on each work. The Contractor / Agency shall upload, the qualification Certificates of the Technical Agents employed and their consent letters

B – The Contractor shall employ the required key personnel named in the schedule of key personnel to carry out the functions stated in the Schedule or other personnel approved by the Engineer-in-Charge. The Engineer-in-Charge will approve any proposed replacement of key personnel only if their qualifications, abilities and relevant experience are substantially equal to or better than those of the personnel listed in the schedule. The Technical Agents shall ensure their attendance at site as directed by  .

  - Schedule of Key Personnel:

The successful tender shall have to employ the following technical staff on full time basis to be available at site.

| Cost of work (Technical sanction amount) | Qualification of Technical Staff |
| --- | --- |
| 1 | 2 |
| From Rs. 20,000/- to Rs. 1.00 lakhs | One I.T.I candidate |
| Above Rs. 1.00 lakhs upto Rs. 15.00 lakhs | One diploma holder |
| Above Rs. 15.00 lakhs upto Rs. 50.00 Lakhs | One Graduate Engineer |
| Above Rs. 50.00 lakhs upto Rs. 100.00 Lakhs | One Graduate Engineer and One Diploma holder |
| Above Rs. 100.00 lakhs upto Rs. 500.00 Lakhs | Two Graduate Engineers |
| Above Rs. 500.00 lakhs upto Rs. 1000.00 Lakhs | Two Graduate Engineer and One Diploma holder |
| Above Rs. 1000.00 lakhs and Above | Three Graduate Engineer and Two Diploma holders & Two Electrical Engineers |
| Above Rs. 5000.00 lakhs and above | Six Graduate Engineers and Two Electrical Engineers |

  - Employment of technical personnel shall be with reference to the estimate cost of work put to tender.

  - The appointment of technical staff shall be on full time basis.

The Technical staff shall be available at work site for supervising the work including quality checking of all items from time to time. Failure to employ the required technical personnel by the contractor, amounts will be recovered at the following rates from the contractor.

Diploma Engineer	- As per Agreement conditions

Graduate Engineer	- As per Agreement conditions

  - The Engineer-in-charge/Agreement authority is the sole judge (a) to decide whether qualified technical staff is actually supervising the work and (b) to decide the actual period of absence of such staff which requires the above recovery to be enforced and his decision is final and binding on the contractor.

  - The technical agents appointed by the contractor shall have to maintain properly all the records required by the department under safe custody at site, like checklists, calibration registers/records, quality test registers, test reports file site order book etc., and make signatures at appropriate places towards proof of verifications, conduction of  tests, compliance to instructions etc.,

  - The technical personnel should be on full time and available at site whenever required by Engineer-in-Charge to take instructions. The technical staff shall be available at work site for supervising the work including quality checking of all items from time to time and shall have to maintain properly all the records required by the department under safe custody at site like checklists, calibration registers/records, quality test registers, test reports file, site order book, etc. and make signatures at appropriate places towards proof of verifications, conduction of tests, compliance to instructions etc.

  - The names of the technical personnel to be employed by the contractor should be furnished in the statement enclosed separately for each work and should not be employed elsewhere on any other work. Even if the contractor is himself a technically qualified person, he shall employ required technical staff on the scale prescribed for supervising all the works separately irrespective of location of work sites in case the overheads are allowed in the data for each work.

  - In case the contractor is already having more than one work on hand and has undertaken more than one work at the same time, he should employ separate technical personnel on each work.

  - If the contractor fails to employ required technical personnel as specified in the agreement, work will be suspended or department will engage required technical personnel and recover the cost from the contractor at penal rate of two times thereof as per the respective SSR rates.

  - If the Engineer-in-Charge asks the contractor to remove a person who is a member of contractor’s staff or his work force stating the reasons the contractor shall ensure that the person leaves the site forthwith and has no further connection with the work in the contract.

The contractor has to open an account in nearest bank in the name of the technical staff appointed by them and their salary should be paid through the account only

The contractor has to certify that the same technical persons appointed shall not be utilized during agreement period on any other work in any other organization and if found at any stage, liable to recover the amount in addition to the normal recovery.

No reimbursement will be made to the contractor towards engaging technical staff as the data includes overhead charges which covers engaging technical staff also. The contractor should produce paid vouchers and bank extracts of the technical staff salary particulars paid by the contractor whenever the Engineer-in-Charge/Agreement authority asks for the same from the contractor.

  - The Engineer-in-Charge/Agreement authority is the sole judge to decide (a) whether qualified technical staff is actually supervising the work and (b) the actual period of absence of such staff which requires the above recovery to be enforced and his decision is final and binding on the contractor.

- Contractor’s risks:

  - All risks of loss of or damage to physical property and of personnel injury and death, which arise during and in consequence of the performance of the contract are the responsibility of the contractor.

- Insurance: Deleted as per G.O Ms No 5, Dt:05.03.2014 of Finance (W & P) Department.

- Site inspections:

  - The contractor should inspect the site and also proposed quarries of choice for materials, source of water and quote his percentage including quarrying, conveyance and all other charges etc.

  - The responsibility for arranging the land for borrow area rests with the contractor and no separate payment will be made for procurement or otherwise. The contractor’s quoted percentage will be inclusive of land cost.

- Contractor to construct the works:

  - The contractor shall construct and commission the work in accordance with the specifications and drawings.

- Diversion of streams/vagus/drains:

  - The contractor shall at all times carry out construction of cross drainage works in a manner creating least interference to the natural flow of water while consistent with the satisfactory execution of work. A temporary diversion shall be formed by the contractor at his cost where necessary. No extra payment shall be made for this work.

  - No separate payment for bailing out sub soils, water drainage or locked up rain water for diversion and such other incidental will be made. The percentage to be quoted by the contractor is for the finished item of work in situ and including all the incidental charges. The borrow pits are also to be dewatered by the contractor himself at his expense, if that should be found necessary.

  - The work of diversion arrangements should be carefully planned and prepared by the contractor and forwarded to the Concerned technically substantiating the proposals and approval of the Concerned obtained for execution.

  - The contractor has to arrange for bailing out water, protection to the work in progress and the portion of works already completed and safety measures for men and materials and all necessary arrangements to complete the work.

  - All the arrangements so required should be carried out and maintained at the cost of the contractor and no separate or additional payments is admissible.

  - Coffer dams:

Necessary coffer dams and ring bunds have to be constructed at the cost of contractor and same are to be removed after the completion of the work. The contractor has to quote his percentage keeping the above in view.

- Power supply:

  - The contractor shall make his own arrangements for obtaining power from the electricity Department at his own cost. The contractor will pay the bills of electricity Department for the cost of power consumed by him.

  - The contractor shall satisfy all the conditions and rules required as per Indian electricity Act 1910 and under Rule-45(I) of the Indian Electricity Rules, 1956 as amended from time to time and other pertinent rules.

  - The power shall be used for bonafide Corporation work only.

  - The contractor shall at all times during the currency of the contract, comply fully with all existing Acts, regulations and bylaws including all statutory amendments and re-enactment’s of state or central govt., and other local authorities and any other enactment’s, notification and acts that may be passed in future either by the state or the central government or local authority including Indian workmen’s compensation Act- 1923,  Control labour (Regulation and Abolition) Act- 1970, The child labour prohibition and regulation Act-1986 and equal remuneration Act- 1976, Factories Act, minimum wage Act- 1948, provident fund regulations, Employees provident fund Act- 1952 schedules made under the same Act.  The buildings and other construction workers (Regulation of employment and condition of service ) Act- 1996, The Cess Act- 1996 and also applicable labour regulations, health and sanitary arrangement for workmen, insurance and other benefit and shall keep department indemnified in case any action is commenced by competent authorities for contravention by the contractor.

  - The electrical contractor has to keep his licence in currency till the work is completed.  If the licence is suspended during the period in which the work is in progress the contract will be terminated and awarded to some other agency recovering the extra cost if any.

  - The materials used in the work should be as per the list of materials enclosed and as per specifications mentioned in BOQ works. The department reserves the right to insist upon using any of the materials from this list of approved materials.

  - The work shall be carried out strictly in conformity with (i)code of practice for Electrical wiring and fittings in Government Buildings, (ii) The Indian standard specification (iii) The Department specification.  If the work carried out does not comply with the code of practice and the Departmental specifications and if the workmanship is unsatisfactory it will be binding on the contractor to redo the job without any extra cost and pay penalty as decided by the Department towards inconvenience caused if any.

  - The work should be carried out under the direct supervision of persons holding a certificate of competency for the type of work involved.

  - After completion of work a plan of building installation should be prepared and furnished indicating the location of various main and sub boards and also the fittings together with a circuit diagram duly numbered (in the diagram).  The final bill will not be paid till the above plan and the diagram is submitted and approved after verification. Such completion drawings shall be signed by the licenced electrical contractor through whom the work is executed.

  - Lugs should be provided for all required number of earth connections.

  - The contractor himself should arrange for the transportation of men and materials to the work spot.

  - Concreting to the pole and providing independent earthing should be done in presence of Departmental staff.

  - On completion of the Electrical Installation a certificate shall be furnished by the Contractor countersigned by a licensed supervisor, that under direct supervision the installation was carried out.   This certificate shall be in the prescribed from as required by the local supply authority.  The contractor shall be responsible for getting the Electrical Installation inspected and approved by the local authority concerned.

  - The contractor shall pay for any inspection fees and for permits required for the installation of the work wherever necessary.  The   shall arrange only for payment of service connection charges and any other security deposit for getting electrical supply. On completion of the work, the contractor shall obtain and deliver to the  , certificates of final inspection and approval by the concerned Electric Authority as may require. The   shall have full powers to require the materials or work to be tested by an independent agency at the Electrical contractor’s expense in order to prove their soundness and adequacy.

  - Contractor shall provide everything necessary for the proper execution of works   according to the intent and meaning of the drawings, specifications, schedule of quantities. Any discrepancy in the documents shall be brought to the notice of the    and got clarified prior to taking up the installation.

  - Materials and workmanship:

All materials and workmanship shall confirm to the specifications, relevant IS standards and code of practice and comply with APSEB/CEIG requirements as the case may be.  Any work that is not up to the standards shall be dismantled and reconstructed by the contractor to the satisfaction of the  .

  - Liaison Work:

The Contractor shall be responsible for all liaison work with Electricity Board/CEIG.

  - “The Civil Contractor shall get all the electrical works done only through the licensed electrical contractors/permit holders as registered with or licensed by A.P State Electrical Licensing Board. A copy of such valid license/permit should be furnished by successful Civil Contractor, at the time of concluding agreement, for each work separately. The commencement and completion certificate and drawings for each work issued by the electrical licensed Contractor/Permit holder should be furnished by Civil Contractor, for releasing payment of electrical work”.

- Temporary diversions (Works on highways):

  - The contractor shall at all times carryout work on the highway in a manner creating least interference to the flow of traffic while consistent with the satisfactory execution of the same. For all works involving improvements to the existing highway, the contractor shall in accordance with the directions of the Engineer-in-Charge provide and maintain during the execution of the work a passage for traffic, either along a part of the existing carriage way under improvement or along a temporary diversion constructed close to the highway.

  - If in the opinion of the Engineer-in-Charge, it is not possible to pass the traffic on part width of the carriage-way for any reason, a temporary diversion close to the highway shall be constructed as directed. It shall be paved with the materials such as hard morrum, gravel and stone, metal to the specified thickness as directed by the Engineer-in-Charge. In all cases, the alignment, gradients and surface type of the diversion including its junctions, shall be approved by the Engineer-in-Charge before the highway is closed to traffic.

  - The contractor shall take all necessary measures for the safety of traffic during construction and provide, erect and maintain such barricades, including signs, markings, flags, lights and information and protection of traffic approaching or passing through the section of the highway under improvement. Before taking up any construction, an agreed phased programme for the diversion of traffic on the highway shall be drawn up in consultation with the Engineer-in-Charge.

  - The barricades erected on either side of the carriage way portion of the carriage way closed to traffic, shall be of strong, design to resist vibration and painted with alternative black and white stripe. Red lanterns or warnings lights of similar type shall be mounted on the barricades at night and kept lit throughout from sunset to sunrise.

- Ramps:

Ramps required during execution may be formed wherever necessary and same are to be removed after completion of the work. No separate payment will be made for this purpose.

- Monsoon damages:

Damages due to rain or flood either in cutting or in banks shall have to be made good by the contractor till the work is handed over to the Department. The responsibility of de-silting and making good the damages due to rain or flood rests with the contractor. No extra payment is payable for such operations and the contractor shall therefore, have to take all necessary precautions to protect the work done during the construction period.

- The works to be completed by the intended completion date:

  - The contractor may commence execution of the works on the start date and shall carry out the works in accordance with the programme submitted by the contractor, as updated with the approval of the Engineer-in-Charge and complete the work by the intended completion date.

- Safety:

  - The contractor shall be responsible for the safety of all activities on the site.

- Discoveries:

  - Anything of historical or other interest or of significant value unexpectedly discovered on the site is the property of the Government. The contractor is to notify the Engineer-in-Charge of such discoveries and carry out the Engineer-in-Charge’s instructions for dealing with them.

- Possession of the site:

  - The Corporation shall give possession of the site to the contractor. If possession of a part site is given, the Corporation will ensure that the part site so handed over is amenable to carryout the work at site by the contractor.

- Access to the site:

  - The contractor shall provide the Engineer-in-Charge and any person authorised by the Engineer-in-Charge, access to the site and to any place where the work in connection with the contract is being carried out or is intended to be carried out.

- Instructions:

  - The contractor shall carry out all instructions of the Engineer-in-Charge and comply with all the applicable local laws where the site is located.

- Settlement of disputes:

  - If any dispute of difference of any kind whatsoever arises between the Corporation and the contractor in connection with, or arising out of the contract, whether during the progress of the works or after their completion and whether before or after the termination, abandonment or breach of the contract, it shall in the first place, be referred to and settled by the Engineer-in-Charge  who shall, within a period of thirty days after being requested by the contractor to do so, give written notice of his decision to the contractor. Upon receipt of the written notice of the decision of the Engineer-in-Charge the contractor shall promptly proceed without delay to comply with such notice of decision.

  - If the Engineer-in-Charge fails to give notice of his decision in writing within a period of thirty days after being requested or if the contractor is dissatisfied with the notice of the decision of the Engineer-in-Charge, the contractor may within thirty days after receiving the notice of decision appeal to the Bank who shall offer an opportunity to the contractor to be heard and to offer evidence in support of his appeal, the Corporation shall give notice of his decision within a period of thirty days after the contractor has given the said evidence in support of his appeal, subject to arbitration, as hereinafter provided. Such decision of the Bank in respect of every matter so referred shall be final and binding upon the contractor and shall forthwith be given effect to by the contractor, who shall proceed with the execution of the works with all due diligence whether he requires arbitration as hereinafter provided, or not. If the Bank has given written notice of his decision to the contractor and no claim to arbitration, has been communicated to him by the contractor within a period of thirty days from receipt of such notice the said decision shall remain final and binding upon the contractor. If the Bank fail to give notice of his decision, as aforesaid within a period of thirty days after being requested as aforesaid, or if the contractor be dissatisfied with any such decision, then and in any such case the contractor within thirty days after the expiration of the first named period of thirty days as the case may be, require that the matter or matters in dispute be referred to arbitration as detailed below:-

- Time FOR COMPLETION

- Program:

  - The total period of completion is 6 Months from the date of entering with agreement to proceed including rainy season.  Keeping in view, the schedule for handing over of site given in condition 24.4 below, work should be programmed such as to achieve the mile stones as in “Rate of progress statement” enclosed. Mile stones will be drawn by the concerned The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa  in consultation with the executing agency at the time of concluding agreement.

  - The attention of the bidder is directed to the contract requirement at the time of beginning of the work, the rate of progress and the dates for the whole work and its several parts as per milestones. Time is the essence of the contract. The following rate of progress and proportionate value of work done from time to time as will be indicated by the Engineer-in-Charge’s certificate for the value of work done and completion of milestones will be required. The date of commencement of their program will be the date of concluding agreement.

  - After signing the agreement, the contractor shall forthwith begin the work, shall regularly and continuously proceed with them. Work programme of achieving of milestones (statement) should be submitted from time to time.

  - The following rate of progress will be required to be maintained by the contractor as a minimum. The start date of this work is the date of signing the agreement but not the date of handing over the site. Contractor may give a separate time schedule for the completion of the whole work and the consideration will be given for accelerated programme. It is imperative that the work progress shall be ahead of the rate of progress given below:

Rate of progress: The work is to be completed within 6 Months from the date of commencement and as per the schedule given below:

- Work programme of achieving the milestones (Statement).

| Mile Stone I | Basement Level, brick Work | 2 Months |
| --- | --- | --- |
| Mile Stone 2 | VRCC Work, Plastering and Flooring | 4 Months |
| Mile Stone 3 | Electrification, Water Supply and sanitary arrangement, finishing, completed. | 6 Months |

(failing which action will be initiated as per clause no.48.3)

Note:	Detailed programme in terms of collection of necessary materials and labour and in terms of finished items of work, to confirmation of the above rate of progress shall be prepared by the contractor and got approved by the Engineer-in-Charge/Agreement authority concerned and which shall be strictly adhered to. This programme of work shall be given based on PERT/CPM charts for works where ECV exceeds Rs.100 Lakhs in the approved format.

- Site schedule of programme of handing over site to the Contractor (Statement)

  - The contractor shall commence the works on site within the period specified under condition 24.1 to 24.4 above after the receipt by him of a written order to this effect from The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa  and shall proceed with the same with due expedition and without delay, except as may be expressly sanctioned or ordered by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa , or be wholly beyond the contractor’s control.

  - Save in so far as the contractor may prescribe, the extent of portions of the site of which the contractor is to be given possession from time to time and the order in which such portions shall be made available to him and, subject to any requirement in the contract as to the order in which the works shall be executed, The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa  will, give the written order to commence the works, The concerned will give to the contractor possession of so much of the site as may be required to enable the contractor to commence and proceed with the execution of the works in accordance with the programme if any, and otherwise in accordance with such reasonable proposals of the contractor as he shall by written notice to the Engineer-In-Charge and will from time to time as the works proceed give to the contractor possession of such further portions of the site as may be required to enable the contractor to proceed with the execution of the works with due dispatch in accordance with the said programme or proposals as the case maybe, if the contractor suffers delay or incurs cost from failure on the part of the Engineer-In-Charge  to give possession in accordance with the terms of this clause, The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa   shall grant an extension of time for the completion of works.

  - The contractor shall bear all costs and charges for special or temporary way leases required by him in connection with access to the site. The contractor shall also provide at his own cost any additional accommodation outside the site required by him for the purposes of the work.

  - Subject to any requirement in the contract as to completion of any section of the works before completion of the whole of the works shall be completed in accordance with provisions of clauses in the schedule within the time stated in the contract calculated from the last day of the period named in the statement to the bid as that within which the works are to be commenced or such extended time as may be allowed.

  - Delays and extension of time:

No claim for compensation on account of delays or hindrances to the work from any cause whatever shall lie, except as hereafter defined.  Reasonable extension of time will be allowed by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa,   or by the officer competent to sanction the extension, for unavoidable delays, such as may result from causes, which in the opinion of the Concerned are undoubtedly beyond the control of the contractor. The Concerned shall assess the period of delay or hindrance caused by any written instructions issued by him, at twenty five per cent in excess or the actual working period so lost.

In the event of the Concerned failing to issue necessary instructions and thereby causing delay and hindrance to the contractor, the latter shall have the right to claim an assessment of such delay by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa  of the Corporate  whose decision will be final and binding. The contractor shall lodge in writing with the Concerned a statement of claim for any delay or hindrance referred to above, within fourteen days from its commencement, otherwise no extension of time will be allowed.

Whenever authorised alterations or additions made during the progress of the work are of such a nature in the opinion of the Concerned as to justify an extension of time in consequence thereof, such extension will be granted in writing by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa,   or other competent authority when ordering such alterations or additions.

- Construction programme:

  - The contractor shall furnish within one month of the order of the work a programme showing the sequence in which he proposed to carry out the work, monthly progress expected to be achieved, also indicating date of procurement of materials, plant and machinery. The schedule should be such that it is practicable to achieve completion of the whole work within the time limit fixed and in keeping with the mile stone programme specified and shall obtain the approval of the Engineer-in-charge. Further rate of the progress as in the program shall be kept up to date. In case it is subsequently found necessary to alter this program, the contractor shall submit sufficiently in advance the revised program incorporating necessary modifications and get the same approved by The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa,. No revised program shall be operative without approval of The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa,

  - The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa shall have all times the right, without any way violating this contract, or forming grounds for any claim, to alter the order of progress of the works or any part thereof and the contractor shall after receiving such directions proceed in the order directed. The contractor shall also report the progress to The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa Concerned within 7 days of the Concerned’s direction to alter the order of progress of works.

  - The contractor shall give written notice to the Engineer-in-Charge whenever planning or progress of the works is likely to be delayed or disrupted unless any further drawings or order including a direction, instruction or approval is issued by the Engineer-in-Charge within a reasonable time. The notice shall include details of the drawing or order required and of why and by when it is required and of any delay or disruption likely to be suffered if it is late.

- Speed of work:

  - The contractor shall at all times maintain the progress of work to conform to the latest operative progress schedule approved by the Engineer-in-Charge. The contractor should furnish progress report indicating the programme and progress once in a month.  The Engineer-in-Charge may at any time in writing direct the contractor to slow down any part or whole of the work for any reason (which shall not be questioned) whatsoever, and the contractor shall comply with such orders of the Engineer-in-Charge. The compliance of such orders shall not entitle the contractor to any claim of compensation. Such orders of the Engineer-in-Charge for slowing down the work will however be duly taken into account while granting extension of time if asked by the contractor for which no extra payment will be entertained.

- Suspension of works by the contractor:

  - If the contractor suspend the works, or sublet the work without sanction of the Engineer-in-Charge, or in the opinion of the Engineer-in-Charge neglect or fail to proceed with due diligence in the performance of his part of the contract as laid down in the schedule rate of progress, or if he continue to default or repeat such default in the respects mentioned in clause 27 of the APSS, Engineer-in-Charge shall take action in accordance with clause 61 of APSS.

  - If the contractor stops work for 28 days and the stoppage has not been authorised by the Engineer-in-Charge the contract will be terminated under Clause 61 of APSS.

  - If the contractor has delayed the completion of works the contract will be terminated under clause 61 of APSS.

- Extension of the intended completion date:

  - The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa, shall extend, in accordance with the Government orders in force, the intended completion date if a variation is issued which makes it impossible for completion to be achieved by the intended completion date.

  - The Engineer-in-Charge shall decide whether and by how much to extend the intended completion date within 21 days of the contractor asking the Engineer for a decision upon the effect of a variation and submitting full supporting information. If the contractor has failed to give early warning of a delay or has failed to cooperate in dealing with a delay, the delay by this failure shall not be considered in assessing the new intended completion date.

BILL OF QUANTITIES

(Schedule – A)

# Name of work:	Construction of The Kadapa District Cooperative Central Bank Ltd., Duvvur Branch Building at Duvvur (V&M) in YSR Kadapa District - Estimate Cost of Rs. 70.00 Lakhs

# BILL OF QUANTITIES

### PREAMBLE

- The Bill of Quantities shall be read in conjunction with the instructions to Bidders, General and Special conditions of Contract, Technical Specifications and Drawings.

- The quantities given in the Bill of Quantities are estimated and provisional and are given to provide common basis for biding. The quantities here given are those upon which the lumpsum bid cost of the work is based but they are subject to alterations, omissions, deductions or additions as provided for in the conditions of this contract and do not necessarily show the actual quantities of work to be done.  The basis of payment will be actual quantities of work ordered and carried out as measured by the Contractor and verified by the Engineer and valued at the estimate rate plus or minus bid percentage quoted in the Bill of Quantities where applicable, and otherwise at such rates and prices as the Engineer-in-Charge may fix within the terms of Contract.

- The estimate rates in the Bill of Quantities shall, except in so-far as it is otherwise provided under the Contract include cost of all constructional material, labour, machinery, transportation, erection, maintenance, profit, taxes and duties together with all general risks, liabilities and obligations set out or implied in the Contract.

- The plans enclosed with the bid are liable to be altered during execution of work as per necessity of site conditions.  The Bid percentage quoted by the bidder shall hold good for execution of work even with altered plans.

- The whole cost of complying with the provisions of the Contract shall be included in the estimated rates for items provided in the Bill of Quantities and where no items are provided in the Bill of Quantities, their cost shall be deemed to be distributed among the estimate rates entered for the related items of work.

- General directions and descriptions of work and materials are not necessarily repeated nor summarised in the Bill of Quantities.  References to the relevant sections of the Contract documentation shall be made before entering estimate rate against each item in the Bill of Quantities.

- The method of measurements of completed work for payment shall be in accordance with the relevant B.I.S. Codes & A. P. S. Specifications.

- All items of work are to be executed as per the drawings / specifications supplied with the contract documents.

If there is any contradiction between the drawings and the text of the specifications, the later shall prevail.

- The Bidder should inspect and select the quarries of his choice before he quotes the bid percentage in the Schedule of Bill of Quantities and satisfy himself about the availability of required quantum of materials.

- Diversion drains should be excavated before completion of the embankments and the useful soils should be used in the nearby embankments.

- The actual mix proportion by weight to be adopted during execution will be got designed in the laboratories to suit the grade of concrete and mortar to be used.  It will be the responsibility of the contractor to manufacture concrete and mortar of required strength.

- The quantum of measurement for all items of earthwork involving conveyance manually or by machinery shall be as assessed by level measurement.  The measurements for the embankment will be for the consolidated banks only.

- Wherever bailing out of water is involved either for excavation or for foundations or for constructions, the percentage quoted shall take into account the dewatering charges necessary.  No separate payment will be made for dewatering.

- Wherever embankment work is involved, useful soils approved by the Engineer-in-Charge from the cutting reaches and diversion drains shall be taken and used for forming nearby embankments soils used for constructions will be at free of cost.

- The quoted bid percentage shall also include the work of any kind necessary for the due and satisfactory construction, completion and maintenance of the works according to the drawings and these specifications and further drawings and orders that may be issued by the Engineer-in-Charge from time to time.  The quoted bid percentage shall include compliance by the Contractor with all the general conditions of contract, whether specifically mentioned or not in the various clauses of these specifications, all materials, machinery, plant, equipment, tools, fuel, water, strutting, timbering, transport, offices, stores, workshop staff, labour and the provision of proper and sufficient protective works, diversions, temporary fencing and lighting.  It shall also include safety of workers, first aid equipments suitable accommodation for the staff and workmen, with adequate sanitary arrangements, the effecting and maintenance of all insurances, the payment of all wages, salaries, fees, royalties / Taxes, duties or other charges arising out of the execution of works and the regular clearance of rubbish, reinstatement and clearing-up of the site as may be required on completion of works safety of the public and protection of the works and adjoining land. The work of Building in quality control / assurance shall be deemed to be covered in the quoted percentage.

- The Contractor shall ensure that, the quoted bid percentage shall cover all stages of work such as setting out, selection of materials, selection of construction methods, selection of equipment and plant, deployment of personnel and supervisory staff, quality control testing etc.  The work quality assurance shall be deemed to be covered in the bid percentage.

- a) 	The special attention of the bidder is drawn to the conditions in the bid document/Schedule ‘A’ wherein reference has been made to the Andhra Pradesh Standard Specifications [APSS] and the Standard preliminary specifications containing therein. These preliminary specifications shall apply to the agreement to be entered into between the contractor and the Government of Andhra Pradesh and shall form an in-separable condition of the contract along with the estimate. All these documents taken together shall be deemed to form one contract and shall be complimentary to another.

b)	The bidder shall carefully study the drawings and additional specifications and all the documents, which form part of the agreement to be entered into by the successful bidder. The APSS and other documents connected with contract such as estimate plans, specifications, can be seen on all working days in the office of the concerned The Deputy General Manager (Premises) Kadapa District Co-Operative Central Bank Ltd., Kadapa .

- The bidders attention is directed to requirements for materials under the clause ‘materials and workmanship’ in the preliminary specifications of APSS. Materials conforming to the Bureau of Indian Standards specifications, APSS etc., shall be used on the work and the bidders shall quote his overall bid percentage accordingly.

- The bidder has to do his own testing of materials and satisfy himself that they conform to the specifications of respective I.S.I Codes before biding.

- The contractor shall himself procure the required construction materials of approved quality including the earth for formation of embankment and water from quarries/sources of his choice.  All such quarries/sources of materials required for the work shall be got approved by the Engineer-in-Charge in writing well before their use of the work.

- The contractor shall himself procure at his own cost the steel, cement, Bitumen, Blasting materials, sand, metal, soils, etc., and such other materials required for the work well in advance. The contractor has to bear the cost of materials and their conveyance. The department will not take any responsibility for fluctuations in market in cost of the materials, transportation and for loss of materials etc.

SCHEDULE –A

BILL OF QUANTITIES

(PART – I)

# NAME OF WORK: 	Construction of The Kadapa District Cooperative Central Bank Ltd., Duvvur Branch Building at Duvvur (V&M) in YSR Kadapa District - Estimate Cost of Rs. 70.00 Lakhs

| Sl. No | Approximate quantity in figures/words | Description of work | Unit in figures/words | Estimate rate in figures/words | Amount in Rs. |
| --- | --- | --- | --- | --- | --- |
|  |  | Schedule - A ( PART- I ) |  |  |  |

SCHEDULE –A

BILL OF QUANTITIES

(Part-II)

(Details of Maximum amount reimbursable to the Contractor)

# NAME OF WORK:	Construction of The Kadapa District Cooperative Central Bank Ltd., Duvvur Branch Building at Duvvur (V&M) in YSR Kadapa District - Estimate Cost of Rs. 70.00 Lakhs

# *************

1)	GST as applicable on Value of work.

2)	Seigniorage charges will be added and recovered from the work bills as per Theoretical requirement of materials.

PRICE BID

[To be placed in the cover -‘B’]

# NAME OF WORK:	Construction of The Kadapa District Cooperative Central Bank Ltd., Duvvur Branch Building at Duvvur (V&M) in YSR Kadapa District - Estimate Cost of Rs. 70.00 Lakhs

Estimated contract value (in figures & words):	Rs. _____________

(Rupees in _______________________________________ Only)

I, __________________ do hereby express my willingness to execute the aforesaid work as per the conditions, standards, specifications, rules, regulations, etc., stipulated in the Bid Documents.

- at an overall tender percentage of ______________ (in figures) _________________________ the estimate contract value.